## Simplified calculation tool
Discharging Tariff Simplified Calculation Sheet
Answer all nine questions (twelve fields to be filled out) - Discharging tariff will be generated automatically
1. | How many days per year is the DTF operational?
320
2. | What is the daily cost allocated for the operator(s)'s wage?
| 700 |  |  | Tariffs
3. | What is the daily cost allocated for security (night/day guard)?
| 500 |  |  | Truck Size | Small | Medium | Large
|  |  |  | Total Fee | 400 | 700 | 1100
4. | How does the DTF get its electricity?
| Solar Power feed |  | 0
[5 empty] | Description |  | Annual cost [KES]
5. | How does the DTF get its water?
| Water delivery |  | 25600 |  | Labour |  | 406500
| If water delivered by water bowser: how much is a single trip to the DTF (to fill the 500L tank)? |  |  |  | Replacement of equipment |  | 75113.85
| 1000 |  |  |  | Purchase of consummables |  | 31780
[5 empty] | Water and Electricity |  | 25600
6. | How much does the desludging service of a DTF cost? |  |  |  | Repairs |  | 15382.5
| 4000 |  |  |  | External services |  | 16000
[5 empty] | Licenses |  | 100000
7. | What laboratory is used for the quaterly test of the DTF effluent? |  |  |  | Capital recovery cost |  | 276666.6667
| Internal Laboratory |  | 16000
If effluent quality test is done by an external laboratory: what is the cost of a set of chemical and bacteriological test?
| 15000 |  | 60000
If effluent quality test is done by an internal laboratory: what is the cost of a set of chemical and bacteriological test?
| 2000 |  | 8000
8. | What is the annual cost for certification and permits related to the operation of a DTF?
100000
9. | What is the total cost invested for the construction and the full operationalisation of a DTF?
8300000

## Calculation Tool
Discharging Tariff Calculation Sheet
Read only All results from this sheet are generated with the data from the other sheets - DO NOT EDIT DATA ON THIS CALCULATION SHEET If editing is required go to the next sheet - Detailed O&M costs
A. General data
ID | Description |  |  | Operational days | Daily capacity [m³] | Total annual volume [m³]
A1 | Annual volume of wastewater treated in the DTF |  |  | 320 | 50 | 16000
B. Annual operation & maintenance costs
ID | Description | Unit | Qty | Frequency/year | Unit Price [KES] | Total annual costs [KES]
B1 | Labour
B1.1 | Plant operator | item | (*)ls | 320 | 700 | 224000
B1.2 | Security services | item | ls | 365 | 500 | 182500
B1. Labour SUBTOTAL | [5 empty] | 406500
B2 | Replacement of equipment
B2.1 | Personal Protective Equipment | item | ls | 1 | 9745 | 9745
B2.2 | Security gear | item | ls | 1 | 2550 | 2550
B2.3 | O&M tools | item | ls | 1 | 4833.3333 | 4833.3333
B2.4 | Cleaning and gardening tool | item | ls | 1 | 2124 | 2124
B2.5 | Laboratory equipment | item | ls | 1 | 23978 | 23978
B2.6 | DTF parts | item | ls | 1 | 23700 | 23700
B2. Replacement of equipment SUBTOTAL (5% contingencies included) | [5 empty] | 75113.85
B3 | Consumables
B3.1 | Electrical items | item | ls | 1 | 500 | 500
B3.2 | Cleaning products | item | ls | 1 | 2080 | 2080
B3.3 | Paint & others | item | ls | 1 | 8800 | 8800
B3.4 | Combustible material | item | ls | 1 | 1920 | 1920
B3.5 | Laboratory consummables | item | ls | 1 | 2700 | 2700
B3.6 | Office supplies | item | ls | 1 | 14266.6667 | 14266.6667
B3. Consumables SUBTOTAL (5% contingencies included) | [5 empty] | 31780
B4 | Water and electricity
B4.1 | Electricity supply
| Grid connection | kWh | 50 | 12 | 11 | 6600
| Solar Power feed | kWh | 50 | 12 | 0 | 0
B4.2 | Water supply
| Water delivery | nr | 1 | 25.6 | 1000 | 25600
| Connection to the water supply network | item | ls | 12 | 350 | 4200
B4. Water and electricity SUBTOTAL | [5 empty] | 25600
B5 | Repairs
B5.1 | Material and labour needed to repair DTF infrastructure | item | ls | 1 | 15382.5 | 15382.5
B5. Repairs SUBTOTAL (5% contingencies included) | [5 empty] | 15382.5
B6 | Services
B6.1 | Exhausting services for desludging of Settler and ABR | nr | 1 | 2 | 4000 | 8000
B6.2 | Laboratory services
| External Laboratory | item | ls | 4 | 15000 | 60000
| Internal Laboratory | item | ls | 4 | 2000 | 8000
B6. Services SUBTOTAL | [5 empty] | 16000
B7 | Licenses
B7.1 | NEMA certificate and other permits | item | ls | 1 | 100000 | 100000
B7. Licenses SUBTOTAL | [5 empty] | 100000
B. Annual O&M costs [KES] | [5 empty] | 670376.35
C. Investment costs
ID | Description |  |  | Average economic life time | Total investment costs [KES] | Average replacement costs [KES]
C.1 | Average replacement cost |  |  | 30 | 8300000 | 276666.6667
C. Annual average replacement costs for a DTF [KES] | [5 empty] | 276666.6667
D. Overall annual costs
ID | Description |  |  |  |  | Total annual cost [KES]
D. Annual DTF overall costs [KES] | [5 empty] | 947043.0167
E. Discharging tariffs
ID | Description |  |  | Min. Fee [KES] to cover annual costs | Cost recovery margin | Total Fee [KES]
E1 | Tariff per m³
E1.1 | Discharge fee applied to each m³ |  |  | 59.1902 | 10% | 65.1092
E2 | Tariff per truck load
E2.1 | Applied fee applied to small truck (5-9 m³) |  |  | 414.3313 | 10% | 400
E2.2 | Applied fee applied to medium truck (10-14 m³) |  |  | 710.2823 | 10% | 700
E2.3 | Applied fee applied to large truck (15-20 m³) |  |  | 1035.8283 | 10% | 1100
(*) ls = lump sum

## Detailed O&M costs
Detailed costs for Operation and Maintenance
Editing of operation and maintenance costs is permitted in this sheet All additions or corrections will be reflected in the tariff displayed in the two other calculation sheets The cells highlighted in yellow (linked with the answers from the simplified calculation tool) as well as all formulas are protected and therefore cannot be edited
B. DTF annual operation & maintenance costs
ID | Item | Description | Unit | Qty | Frequency/year | Unit Price [KES] | Annual OM Costs [KES]
B1 | Labour costs
B1.1 | Plant operator |  | item | ls | 320 | 700 | 224000
B1.2 | Security services |  | item | ls | 365 | 500 | 182500
0
0
0
B1 Labour costs SUBTOTAL | [6 empty] | 406500
B2 | Replacement of Equipment
B2.1 | Personal Protective Equipment | Overall | nr | 2 | 0.5 | 1350 | 1350
|  | Apron | nr | 2 | 0.5 | 700 | 700
|  | Gumboots | nr | 2 | 0.5 | 915 | 915
|  | Rubber gloves | nr | 4 | 1 | 800 | 3200
|  | Safety googles | nr | 2 | 1 | 140 | 280
|  | Respiratory mask | nr | 2 | 0.5 | 2500 | 2500
|  | Protective helmet | nr | 2 | 0.2 | 2000 | 800
0
0
0
B2.1 PPE SUBTOTAL | [6 empty] | 9745
B2.2 | Security gear | Harness and safety rope | nr | 1 | 0.1 | 3000 | 300
|  | First aid kit | nr | 1 | 0.5 | 2600 | 1300
|  | Fire extinguisher | nr | 1 | 0.2 | 4000 | 800
|  | Flash light | nr | 1 | 0.1 | 1500 | 150
0
0
0
B2.2 Security gear SUBTOTAL | [6 empty] | 2550
B2.3 | O&M tools | High pressure washer | nr | 1 | 0.2 | 13000 | 2600
|  | Extension lead | nr | 1 | 0.2 | 2000 | 400
|  | Cover lifter | nr | 1 | 0.33333 | 1000 | 333.3333
|  | Skimmer | nr | 1 | 0.5 | 1500 | 750
|  | Ladder | nr | 1 | 0.05 | 10000 | 500
0
0
0
B2.3 O&M Tools SUBTOTAL | [6 empty] | 4583.3333
B2.4 | Cleaning and gardening tool | Rake | nr | 1 | 0.2 | 895 | 179
|  | Spade | nr | 1 | 0.2 | 1625 | 325
|  | Panga | nr | 1 | 0.2 | 900 | 180
|  | Steel bucket | nr | 2 | 0.2 | 900 | 360
|  | Wheelbarrow | nr | 1 | 0.2 | 4000 | 800
|  | Stiff broom | nr | 1 | 0.2 | 400 | 80
|  | Mop | nr | 2 | 0.5 | 200 | 200
0
0
0
B2.4 Cleaning and gardening tools SUBTOTAL | [6 empty] | 2124
B2.5 | Laboratory equipement | Beaker glass (250 mL) | nr | 10 | 0.2 | 418 | 836
|  | Sampling plastic bottle (1000 mL) | nr | 5 | 0.2 | 980 | 980
|  | Sludge judge + brush | nr | 1 | 0.2 | 14680 | 2936
|  | Sampling rode + sampler extra cup | nr | 1 | 0.2 | 11010 | 2202
|  | Mercury thermometer | nr | 1 | 0.1 | 400 | 40
|  | Dissolved Oxygen meter | nr | 1 | 0.2 | 65970 | 13194
|  | Wash bottle | nr | 1 | 0.2 | 700 | 140
|  | pH strips box | nr | 1 | 0.5 | 4900 | 2450
|  | Lab coat | nr | 1 | 0.2 | 2000 | 400
|  | Non-latex gloves box | nr | 1 | 1 | 800 | 800
0
0
0
0
B2.5 Laboratory equipment SUBTOTAL | [6 empty] | 23978
B2.6 | DTF parts | Butterfly valve | nr | 1 | 0.1 | 20000 | 2000
|  | Ballcock valve | nr | 2 | 0.1 | 5000 | 1000
|  | Protective mesh | nr | 1 | 1 | 700 | 700
|  | Filter media for VFCW and SDB | m3 | 200 | 0.1 | 1000 | 20000
|  | Battery and inverter for solar | item | ls | 0.1 | 43000 | 4300
|  | Charge controller for solar | nr | 1 | 0.033333 | 9500 | 316.6667
|  | Solar panels | nr | 1 | 0.025 | 9600 | 240
0
0
0
B2.6 DTF parts SUBTOTAL | [6 empty] | 28556.6667
B2 Replacement of Equipment SUBTOTAL (5% contingencies included) | [6 empty] | 75113.85
B3 | Purchase of Consumables
B3.1 | Electrical items | Light bulbs (LED) | nr | 2 | 0.5 | 300 | 300
|  | Batteries | nr | 4 | 1 | 50 | 200
0
0
0
B3.1 Electrical items SUBTOTAL | [6 empty] | 500
B3.2 | Cleaning products | Anti-bacterial soap | nr | 1 | 6 | 80 | 480
|  | Floor detergent | nr | 1 | 5 | 200 | 1000
|  | Bleach | nr | 1 | 3 | 200 | 600
0
0
0
B3.2 Cleaning product SUBTOTAL | [6 empty] | 2080
B3.3 | Paint & others | Universal undercoat (4L) | nr | 1 | 1 | 1500 | 1500
|  | Thiner (4L) | nr | 1 | 1 | 1500 | 1500
|  | Gloss paint (4L) | nr | 2 | 1 | 2400 | 4800
|  | Sand paper (corrosion control) | nr | 1 | 1 | 1000 | 1000
0
0
0
B3.3 Paint & others SUBTOTAL | [6 empty] | 8800
B3.4 | Combustible material | Wood or charcoal (for weekly incineration of 50kg of solid waste) | nr | 8 | 48 | 5 | 1920
0
0
0
B3.4 Combustible material SUBTOTAL | [6 empty] | 1920
B3.5 | Laboratory consummables | Markers | nr | 4 | 1 | 300 | 1200
|  | Solvent and dionized water to clean the glassware | nr | 1 | 1 | 1500 | 1500
0
0
0
B3.5 Laboratory consummables SUBTOTAL | [6 empty] | 2700
B3.6 | Office supplies | Paper ram for forms (80 sheets) | nr | 5 | 1 | 2500 | 12500
|  | Punching machine | nr | 1 | 0.1 | 1000 | 100
|  | Folders | nr | 5 | 0.2 | 400 | 400
|  | Pens | nr | 10 | 1 | 50 | 500
|  | Stamp & ink | nr | 1 | 0.33333 | 2000 | 666.6667
|  | Cissors | nr | 1 | 0.1 | 1000 | 100
0
0
0
B3.6 Office supplies SUBTOTAL | [6 empty] | 14266.6667
B.3 Purchase of Consumables SUBTOTAL (5% contingencies included) | [6 empty] | 31780
B4 | Energy and Water costs
B4.1 | Electricity supply: ligthing of 2 rooms + 2 security light + 3 electrical sockets + instant shower (around 50kWh)
| Grid connection |  | KWh | 50 | 12 | 11 | 6600
| Solar power |  | KWh | 50 | 12 | 0 | 0
B4.2 | Supply of 40L of fresh water daily
| Water delivery through water bowser |  | nr | 1 | 25.6 | 1000 | 25600
| Connection to the water supply network |  | item | ls | 12 | 350 | 4200
0
0
0
B.4 Energy and Water costs SUBTOTAL | [6 empty] | 25600
B5 | Repairs
B5.1 | DTF infrastructure | Fence (1 roll of chain link) | nr | 1 | 0.5 | 2000 | 1000
|  | repairs of walls and slab: 1t. Cement, 1t aggregate, 5 bags cement | item | ls | 1 | 5250 | 5250
|  | Labour | days | 14 | 1 | 600 | 8400
0
0
0
B.5 Repairs SUBTOTAL (5% contingencies included) | [6 empty] | 15382.5
B6 | Services
B6.1 | Exhausting services | Desludging of the Settler and ABR | nr | 1 | 2 | 4000 | 8000
B6.2 | Laboratory services: testing of sample for BOD, COD, TSS, Nitrogen, Phosphorus, Coliforms, etc.
| External Laboratory |  | nr | 1 | 4 | 15000 | 60000
| Internal Laboratory |  | nr | 1 | 4 | 2000 | 8000
0
0
0
B.6 Services SUBTOTAL | [6 empty] | 16000
B7 | Licenses
B7.1 |  | NEMA discharging license | nr | 1 | 1 | 30000 | 30000
0
0
0
B.7 Licenses SUBTOTAL | [6 empty] | 100000
TOTAL annual O&M costs [KES] | [6 empty] | 670376.35