## Tabelle1
NZOIA Cluster Water Supply Project |  |  |  |  | Kitale |  |  |  |  | Annex 3.1.1 | NZOIA Cluster Water Supply Project | [9 empty] | Annex 3.2.1 | NZOIA Cluster Water Supply Project | [9 empty] | Annex 3.2.2 | NZOIA Cluster Water Supply Project | [9 empty] | Annex 3.2.3 | NZOIA Cluster Water Supply Project | [9 empty] | Annex 3.2.4
Feasibility Study | [10 empty] | Feasibility Study | [10 empty] | Feasibility Study | [10 empty] | Feasibility Study | [10 empty] | Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82 |  |  | Summary of Investment Costs - CLUSTER of 1st Priority (Kitale - Bungoma - Webuye) | [8 empty] | Exchange Rate: 1 EUR / Kshs ( 7/2003) | 82 | Summary of Investment Costs - CLUSTER of 2nd Priority (Kakamega - Busia - Nambale) | [8 empty] | Exchange Rate: 1 EUR / Kshs ( 7/2003) | 82 | Summary of Investment Costs - Butere, Mumias and Kapengueria | [8 empty] | Exchange Rate: 1 EUR / Kshs ( 7/2003) | 82 | Summary of Investment Costs - Makutano, Malakisi and Kimilili | [8 empty] | Exchange Rate: 1 EUR / Kshs ( 7/2003) | 82
No. | Description | Present | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2 |  | No. | Description |  | Project Phase 1 |  |  |  | Project Phase 2 |  |  | Gand | No. | Description |  | Project Phase 1 |  |  |  | Project Phase 2 |  |  | Gand | No. | Description |  | Project Phase 1 |  |  |  | Project Phase 2 |  |  | Gand | No. | Description |  | Project Phase 1 |  |  |  | Project Phase 2 |  |  | Gand
|  | Condition | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010) |  |  |  |  | (01/07/2004 - 30/06/2007) |  |  |  | (01/07/2007 - 30/06/2010) |  |  | Total |  |  |  | (01/07/2004 - 30/06/2007) |  |  |  | (01/07/2007 - 30/06/2010) |  |  | Total |  |  |  | (01/07/2004 - 30/06/2007) |  |  |  | (01/07/2007 - 30/06/2010) |  |  | Total |  |  |  | (01/07/2004 - 30/06/2007) |  |  |  | (01/07/2007 - 30/06/2010) |  |  | Total
|  | of | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total |  |  | Kitale | Bungoma | Webuye | Total | Kitale | Bungoma | Webuye | Total |  |  |  | Kakamega | Busia | Nambale | Total | Kakamega | Busia | Nambale | Total |  |  |  | Butere | Mumias | Kapengueria | Total | Butere | Mumias | Kapengueria | Total |  |  |  | Makutano | Malakisi | Kimilili | Total | Makutano | Malakisi | Kimilili | Total
|  | Structures/ | Value | [12 empty] | Phase 1 |  |  |  | Phase 2 | [6 empty] | Phase 1 |  |  |  | Phase 2 | [6 empty] | Phase 1 |  |  |  | Phase 2 | [6 empty] | Phase 1 |  |  |  | Phase 2
|  | Installations | EUR |  |  | EUR | EUR |  | EUR | EUR |  |  | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR |  |  | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR |  |  | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR |  |  | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR
1 | Raw Water Production | [9 empty] | 1 | Raw Water Production | [9 empty] | 1 | Raw Water Production | [9 empty] | 1 | Raw Water Production | [9 empty] | 1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Good |  | LS | 1 | 25000 | 25000 | 1 |  | 0 |  | Rehabilitation of Weir and Intake Structure | 25000 | 10000 | 10000 | 45000 | 0 | 0 | 0 | 0 | 45000 |  | Rehabilitation of Weir and Intake Structure | 10000 | 15000 | 0 | 25000 | 0 | 0 | 0 | 0 | 25000 |  | Rehabilitation of Weir and Intake Structure | 0 | 10000 | 10000 | 20000 | 0 | 0 | 0 | 0 | 20000 |  | Rehabilitation of Weir and Intake Structure | 10000 | 0 | 10000 | 20000 | 0 | 0 | 0 | 0 | 20000
| Rehabilitation of existing Raw Water Main (DN ...) | Good |  | m | 1 | 15000 | 15000 | 1 |  | 0 |  | Rehabilitation of existing Raw Water Main (DN ...) | 15000 | 0 | 0 | 15000 | 0 | 0 | 0 | 0 | 15000 |  | Rehabilitation of existing Raw Water Main (DN ...) | 5000 | 7000 | 0 | 12000 | 0 | 0 | 0 | 0 | 12000 |  | Rehabilitation of existing Raw Water Main (DN ...) | 0 | 15000 | 15000 | 30000 | 0 | 0 | 0 | 0 | 30000 |  | Rehabilitation of existing Raw Water Main (DN ...) | 0 | 0 | 52000 | 52000 | 0 | 0 | 0 | 0 | 52000
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0 |  | Extension of Intake Facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Extension of Intake Facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Extension of Intake Facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Extension of Intake Facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0 |  | New Raw Water Main (DN ...) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | New Raw Water Main (DN ...) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | New Raw Water Main (DN ...) | 0 | 0 | 0 | 0 | 0 | 0 | 165000 | 165000 | 165000 |  | New Raw Water Main (DN ...) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total 1: |  | 50000 |  |  |  | 40000 |  |  | 0 |  | Sub-Total 1: | 40000 | 10000 | 10000 | 60000 | 0 | 0 | 0 | 0 | 60000 |  | Sub-Total 1: | 15000 | 22000 | 0 | 37000 | 0 | 0 | 0 | 0 | 37000 |  | Sub-Total 1: | 0 | 25000 | 25000 | 50000 | 0 | 0 | 165000 | 165000 | 215000 |  | Sub-Total 1: | 10000 | 0 | 62000 | 72000 | 0 | 0 | 0 | 0 | 72000
2 | Water Treatment Plant | [9 empty] | 2 | Water Treatment Plant | [9 empty] | 2 | Water Treatment Plant | [9 empty] | 2 | Water Treatment Plant | [9 empty] | 2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Acceptable |  | LS | 1 | 150000 | 150000 |  |  | 0 |  | Refurbishment of Offices, Lab. & Workshops | 150000 | 80000 | 90000 | 320000 | 0 | 0 | 0 | 0 | 320000 |  | Refurbishment of Offices, Lab. & Workshops | 160000 | 60000 | 20000 | 240000 | 0 | 0 | 0 | 0 | 240000 |  | Refurbishment of Offices, Lab. & Workshops | 20000 | 50000 | 20000 | 90000 | 0 | 0 | 0 | 0 | 90000 |  | Refurbishment of Offices, Lab. & Workshops | 0 | 0 | 120000 | 120000 | 0 | 0 | 0 | 0 | 120000
| Rehabilitation of existing Water Treatment Facilities | Good |  | LS | 1 | 510000 | 510000 |  |  | 0 |  | Rehabilitation of existing Water Treatment Facilities | 510000 | 100000 | 310000 | 920000 | 0 | 0 | 0 | 0 | 920000 |  | Rehabilitation of existing Water Treatment Facilities | 810000 | 450000 | 0 | 1260000 | 0 | 0 | 0 | 0 | 1260000 |  | Rehabilitation of existing Water Treatment Facilities | 0 | 325000 | 150000 | 475000 | 0 | 0 | 0 | 0 | 475000 |  | Rehabilitation of existing Water Treatment Facilities | 190000 | 50000 | 150000 | 390000 | 0 | 0 | 0 | 0 | 390000
| Refurbishment Storage Tanks & Reservoirs | Good |  | LS | 1 | 0 | 0 |  |  | 0 |  | Refurbishment Storage Tanks & Reservoirs | 0 | 7000 | 23000 | 30000 | 0 | 0 | 0 | 0 | 30000 |  | Refurbishment Storage Tanks & Reservoirs | 33000 | 13000 | 0 | 46000 | 0 | 0 | 0 | 0 | 46000 |  | Refurbishment Storage Tanks & Reservoirs | 0 | 19000 | 12000 | 31000 | 0 | 0 | 0 | 0 | 31000 |  | Refurbishment Storage Tanks & Reservoirs | 12000 | 0 | 0 | 12000 | 0 | 0 | 0 | 0 | 12000
| Rehabilitation of Low & High Lift Pumping Station | Good |  | LS | 1 | 65000 | 65000 |  |  | 0 |  | Rehabilitation of Low & High Lift Pumping Station | 65000 | 22000 | 34000 | 121000 | 0 | 0 | 0 | 0 | 121000 |  | Rehabilitation of Low & High Lift Pumping Station | 45000 | 50000 | 0 | 95000 | 0 | 0 | 0 | 0 | 95000 |  | Rehabilitation of Low & High Lift Pumping Station | 0 | 36000 | 11000 | 47000 | 0 | 0 | 0 | 0 | 47000 |  | Rehabilitation of Low & High Lift Pumping Station | 13000 | 5000 | 0 | 18000 | 0 | 0 | 0 | 0 | 18000
| Rehabilitation of existing Boreholes | - |  | LS |  |  | 0 |  |  | 0 |  | Rehabilitation of existing Boreholes | 0 | 24000 | 0 | 24000 | 0 | 0 | 0 | 0 | 24000 |  | Rehabilitation of existing Boreholes | 16000 | 28000 | 12000 | 56000 | 0 | 0 | 0 | 0 | 56000 |  | Rehabilitation of existing Boreholes | 12000 | 4000 | 0 | 16000 | 0 | 0 | 0 | 0 | 16000 |  | Rehabilitation of existing Boreholes | 0 | 8000 | 0 | 8000 | 0 | 0 | 0 | 0 | 8000
| ... | [5 empty] | 0 |  |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New Office, Workshop and Storage Facilities |  |  | LS |  |  | 0 | 1 | 80000 | 80000 |  | New Office, Workshop and Storage Facilities | 0 | 0 | 0 | 0 | 80000 | 90000 | 110000 | 280000 | 280000 |  | New Office, Workshop and Storage Facilities | 0 | 0 | 0 | 0 | 80000 | 70000 | 20000 | 170000 | 170000 |  | New Office, Workshop and Storage Facilities | 0 | 0 | 0 | 0 | 20000 | 20000 | 40000 | 80000 | 80000 |  | New Office, Workshop and Storage Facilities | 0 | 0 | 0 | 0 | 40000 | 25000 | 40000 | 105000 | 105000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 |  |  | 0 |  | New Water Treatment Plant | 0 | 1080000 | 0 | 1080000 | 0 | 1080000 | 1890000 | 2970000 | 4050000 |  | New Water Treatment Plant | 0 | 0 | 0 | 0 | 1080000 | 1080000 | 0 | 2160000 | 2160000 |  | New Water Treatment Plant | 0 | 648000 | 180000 | 828000 | 0 | 648000 | 900000 | 1548000 | 2376000 |  | New Water Treatment Plant | 540000 | 0 | 1350000 | 1890000 | 540000 | 765000 | 1080000 | 2385000 | 4275000
| New Storage Capacities |  |  | m3 |  | 200 | 0 |  |  | 0 |  | New Storage Capacities | 0 | 50000 | 0 | 50000 | 0 | 50000 | 100000 | 150000 | 200000 |  | New Storage Capacities | 0 | 0 | 0 | 0 | 50000 | 50000 | 0 | 100000 | 100000 |  | New Storage Capacities | 0 | 30000 | 20000 | 50000 | 0 | 30000 | 40000 | 70000 | 120000 |  | New Storage Capacities | 30000 | 0 | 60000 | 90000 | 30000 | 0 | 50000 | 80000 | 170000
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 |  |  | 0 |  | New Low & High Lift Pumping Facilities | 0 | 96000 | 0 | 96000 | 0 | 96000 | 168000 | 264000 | 360000 |  | New Low & High Lift Pumping Facilities | 0 | 0 | 0 | 0 | 96000 | 96000 | 0 | 192000 | 192000 |  | New Low & High Lift Pumping Facilities | 0 | 57600 | 16000 | 73600 | 0 | 57600 | 80000 | 137600 | 211200 |  | New Low & High Lift Pumping Facilities | 48000 | 0 | 0 | 48000 | 48000 | 0 | 0 | 48000 | 96000
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0 |  | New Boreholes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | New Boreholes | 0 | 120000 | 120000 | 240000 | 0 | 0 | 80000 | 80000 | 320000 |  | New Boreholes | 120000 | 0 | 0 | 120000 | 120000 | 0 | 0 | 120000 | 240000 |  | New Boreholes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total 2: |  | 1280000 |  |  |  | 725000 |  |  | 80000 |  | Sub-Total 2: | 725000 | 1459000 | 457000 | 2641000 | 80000 | 1316000 | 2268000 | 3664000 | 6305000 |  | Sub-Total 2: | 1064000 | 721000 | 152000 | 1937000 | 1306000 | 1296000 | 100000 | 2702000 | 4639000 |  | Sub-Total 2: | 152000 | 1169600 | 409000 | 1730600 | 140000 | 755600 | 1060000 | 1955600 | 3686200 |  | Sub-Total 2: | 833000 | 63000 | 1680000 | 2576000 | 658000 | 790000 | 1170000 | 2618000 | 5194000
3 | Transmission and Pumping Main | [9 empty] | 3 | Transmission and Pumping Main | [9 empty] | 3 | Transmission and Pumping Main | [9 empty] | 3 | Transmission and Pumping Main | [9 empty] | 3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) | Good |  | m | 21000 | 5 | 105000 |  |  | 0 |  | Rehabilitation of existing Transmission Main (DN ...) | 105000 | 120000 | 30000 | 255000 | 0 | 0 | 0 | 0 | 255000 |  | Rehabilitation of existing Transmission Main (DN ...) | 90000 | 120000 | 0 | 210000 | 0 | 0 | 0 | 0 | 210000 |  | Rehabilitation of existing Transmission Main (DN ...) | 0 | 35000 | 0 | 35000 | 0 | 0 | 0 | 0 | 35000 |  | Rehabilitation of existing Transmission Main (DN ...) | 0 | 0 | 30000 | 30000 | 0 | 0 | 0 | 0 | 30000
| New Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0 |  | New Transmission Main (DN ...) | 0 | 0 | 110000 | 110000 | 0 | 2200000 | 220000 | 2420000 | 2530000 |  | New Transmission Main (DN ...) | 0 | 77000 | 0 | 77000 | 330000 | 660000 | 0 | 990000 | 1067000 |  | New Transmission Main (DN ...) | 0 | 0 | 0 | 0 | 0 | 385000 | 0 | 385000 | 385000 |  | New Transmission Main (DN ...) | 0 | 1275000 | 0 | 1275000 | 0 | 0 | 390000 | 390000 | 1665000
| ... | [5 empty] | 0 |  |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total 3: |  | 690000 |  |  |  | 105000 |  |  | 0 |  | Sub-Total 3: | 105000 | 120000 | 140000 | 365000 | 0 | 2200000 | 220000 | 2420000 | 2785000 |  | Sub-Total 3: | 90000 | 197000 | 0 | 287000 | 330000 | 660000 | 0 | 990000 | 1277000 |  | Sub-Total 3: | 0 | 35000 | 0 | 35000 | 0 | 385000 | 0 | 385000 | 420000 |  | Sub-Total 3: | 0 | 1275000 | 30000 | 1305000 | 0 | 0 | 390000 | 390000 | 1695000
4 | Reservoirs and Elevated Tanks | [9 empty] | 4 | Reservoirs and Elevated Tanks | [9 empty] | 4 | Reservoirs and Elevated Tanks | [9 empty] | 4 | Reservoirs and Elevated Tanks | [9 empty] | 4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks | Good |  | m3 |  |  | 0 |  |  | 0 |  | Refurbishment of existing Water Tanks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Refurbishment of existing Water Tanks | 51000 | 108000 | 12000 | 171000 | 0 | 0 | 0 | 0 | 171000 |  | Refurbishment of existing Water Tanks | 5000 | 0 | 6000 | 11000 | 0 | 0 | 0 | 0 | 11000 |  | Refurbishment of existing Water Tanks | 3000 | 0 | 3000 | 6000 | 0 | 0 | 0 | 0 | 6000
| Refurbishment of existing Ground Reservoirs | Good |  | m3 |  |  | 0 |  |  | 0 |  | Refurbishment of existing Ground Reservoirs | 0 | 44000 | 24000 | 68000 | 0 | 0 | 0 | 0 | 68000 |  | Refurbishment of existing Ground Reservoirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Refurbishment of existing Ground Reservoirs | 0 | 28000 | 0 | 28000 | 0 | 0 | 0 | 0 | 28000 |  | Refurbishment of existing Ground Reservoirs | 2000 | 10000 | 10000 | 22000 | 0 | 0 | 0 | 0 | 22000
| Additional Storage Capacities |  |  | m3 |  | 250 | 0 |  |  | 0 |  | Additional Storage Capacities | 0 | 0 | 0 | 0 | 0 | 0 | 112500 | 112500 | 112500 |  | Additional Storage Capacities | 50000 | 50000 | 7500 | 107500 | 125000 | 87500 | 62500 | 275000 | 382500 |  | Additional Storage Capacities | 25000 | 0 | 62500 | 87500 | 50000 | 50000 | 87500 | 187500 | 275000 |  | Additional Storage Capacities | 62500 | 62500 | 150000 | 275000 | 62500 | 25000 | 150000 | 237500 | 512500
| Sub-Total 4: |  | 510000 |  |  |  | 0 |  |  | 0 |  | Sub-Total 4: | 0 | 44000 | 24000 | 68000 | 0 | 0 | 112500 | 112500 | 180500 |  | Sub-Total 4: | 101000 | 158000 | 19500 | 278500 | 125000 | 87500 | 62500 | 275000 | 553500 |  | Sub-Total 4: | 30000 | 28000 | 68500 | 126500 | 50000 | 50000 | 87500 | 187500 | 314000 |  | Sub-Total 4: | 67500 | 72500 | 163000 | 303000 | 62500 | 25000 | 150000 | 237500 | 540500
5 | Distribution Network | [9 empty] | 5 | Distribution Network | [9 empty] | 5 | Distribution Network | [9 empty] | 5 | Distribution Network | [9 empty] | 5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 3600 | 65 | 234000 |  |  | 0 |  | Replacement of exist. Distribution Lines (DN100-DN200) | 234000 | 97500 | 143000 | 474500 | 0 | 0 | 0 | 0 | 474500 |  | Replacement of exist. Distribution Lines (DN100-DN200) | 253500 | 71500 | 13000 | 338000 | 0 | 0 | 0 | 0 | 338000 |  | Replacement of exist. Distribution Lines (DN100-DN200) | 13000 | 19500 | 13000 | 45500 | 0 | 0 | 0 | 0 | 45500 |  | Replacement of exist. Distribution Lines (DN100-DN200) | 13000 | 32500 | 240500 | 286000 | 0 | 0 | 0 | 0 | 286000
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 9000 | 25 | 225000 |  |  | 0 |  | Replacement of exist. Distribution Lines (DN50-DN80) | 225000 | 95000 | 162500 | 482500 | 0 | 0 | 0 | 0 | 482500 |  | Replacement of exist. Distribution Lines (DN50-DN80) | 275000 | 72500 | 12500 | 360000 | 0 | 0 | 0 | 0 | 360000 |  | Replacement of exist. Distribution Lines (DN50-DN80) | 15000 | 22500 | 15000 | 52500 | 0 | 0 | 0 | 0 | 52500 |  | Replacement of exist. Distribution Lines (DN50-DN80) | 15000 | 27500 | 275000 | 317500 | 0 | 0 | 0 | 0 | 317500
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 5400 | 15 | 81000 |  |  | 0 |  | Replacement of exist. Service Lines (DN25-DN40) | 81000 | 33000 | 34500 | 148500 | 0 | 0 | 0 | 0 | 148500 |  | Replacement of exist. Service Lines (DN25-DN40) | 84000 | 22500 | 4500 | 111000 | 0 | 0 | 0 | 0 | 111000 |  | Replacement of exist. Service Lines (DN25-DN40) | 7500 | 9000 | 4500 | 21000 | 0 | 0 | 0 | 0 | 21000 |  | Replacement of exist. Service Lines (DN25-DN40) | 6000 | 9000 | 334500 | 349500 | 0 | 0 | 0 | 0 | 349500
| New Distribution Lines (DN100-DN200) |  |  | m | 2400 | 65 | 156000 | 3400 | 65 | 221000 |  | New Distribution Lines (DN100-DN200) | 156000 | 123500 | 136500 | 416000 | 221000 | 149500 | 169000 | 539500 | 955500 |  | New Distribution Lines (DN100-DN200) | 221000 | 117000 | 39000 | 377000 | 156000 | 143000 | 13000 | 312000 | 689000 |  | New Distribution Lines (DN100-DN200) | 32500 | 65000 | 32500 | 130000 | 32500 | 65000 | 91000 | 188500 | 318500 |  | New Distribution Lines (DN100-DN200) | 45500 | 39000 | 0 | 84500 | 71500 | 71500 | 0 | 143000 | 227500
| New Distribution Lines (DN50-DN80) |  |  | m | 12000 | 25 | 300000 | 18000 | 25 | 450000 |  | New Distribution Lines (DN50-DN80) | 300000 | 232500 | 270000 | 802500 | 450000 | 300000 | 340000 | 1090000 | 1892500 |  | New Distribution Lines (DN50-DN80) | 427500 | 225000 | 77500 | 730000 | 315000 | 290000 | 20000 | 625000 | 1355000 |  | New Distribution Lines (DN50-DN80) | 65000 | 132500 | 70000 | 267500 | 72500 | 125000 | 185000 | 382500 | 650000 |  | New Distribution Lines (DN50-DN80) | 90000 | 75000 | 0 | 165000 | 140000 | 150000 | 0 | 290000 | 455000
| New Service Lines (DN25-DN40) |  |  | m | 9600 | 15 | 144000 | 21800 | 15 | 327000 |  | New Service Lines (DN25-DN40) | 144000 | 111000 | 130500 | 385500 | 327000 | 217500 | 243000 | 787500 | 1173000 |  | New Service Lines (DN25-DN40) | 205500 | 108000 | 57000 | 370500 | 225000 | 207000 | 12000 | 444000 | 814500 |  | New Service Lines (DN25-DN40) | 48000 | 94500 | 49500 | 192000 | 52500 | 90000 | 132000 | 274500 | 466500 |  | New Service Lines (DN25-DN40) | 63000 | 54000 | 0 | 117000 | 100500 | 106500 | 0 | 207000 | 324000
| Sub-Total 5: |  | 810000 |  |  |  | 1140000 |  |  | 998000 |  | Sub-Total 5: | 1140000 | 692500 | 877000 | 2709500 | 998000 | 667000 | 752000 | 2417000 | 5126500 |  | Sub-Total 5: | 1466500 | 616500 | 203500 | 2286500 | 696000 | 640000 | 45000 | 1381000 | 3667500 |  | Sub-Total 5: | 181000 | 343000 | 184500 | 708500 | 157500 | 280000 | 408000 | 845500 | 1554000 |  | Sub-Total 5: | 232500 | 237000 | 850000 | 1319500 | 312000 | 328000 | 0 | 640000 | 1959500
6 | Metering and Connections | [9 empty] | 6 | Metering and Connections | [9 empty] | 6 | Metering and Connections | [9 empty] | 6 | Metering and Connections | [9 empty] | 6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 5800 | 35 | 203000 | 3400 | 35 | 119000 |  | Purchase of water meters, valves & fittings | 203000 | 105000 | 122500 | 430500 | 119000 | 129500 | 148750 | 397250 | 827750 |  | Purchase of water meters, valves & fittings | 227500 | 91000 | 35000 | 353500 | 112000 | 94500 | 8750 | 215250 | 568750 |  | Purchase of water meters, valves & fittings | 28000 | 66500 | 17500 | 112000 | 24500 | 38500 | 59500 | 122500 | 234500 |  | Purchase of water meters, valves & fittings | 21000 | 31500 | 164500 | 217000 | 56000 | 42000 | 59500 | 157500 | 374500
| Purchase of bulk WMs, valves & fittings |  |  | LS |  |  | 0 |  |  | 0 |  | Purchase of bulk WMs, valves & fittings | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Purchase of bulk WMs, valves & fittings | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Purchase of bulk WMs, valves & fittings | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Purchase of bulk WMs, valves & fittings | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 2850 | 15 | 42750 |  |  | 0 |  | Installation of water meters at exisit. HCs | 42750 | 17250 | 18000 | 78000 | 0 | 0 | 0 | 0 | 78000 |  | Installation of water meters at exisit. HCs | 33750 | 15000 | 3750 | 52500 | 0 | 0 | 0 | 0 | 52500 |  | Installation of water meters at exisit. HCs | 2250 | 10500 | 1500 | 14250 | 0 | 0 | 0 | 0 | 14250 |  | Installation of water meters at exisit. HCs | 1500 | 3000 | 21000 | 25500 | 0 | 0 | 0 | 0 | 25500
| Installation / construction of new HCs |  |  | nos. | 2950 | 25 | 73750 | 3400 | 25 | 85000 |  | Installation / construction of new HCs | 73750 | 46250 | 57500 | 177500 | 85000 | 92500 | 106250 | 283750 | 461250 |  | Installation / construction of new HCs | 106250 | 40000 | 18750 | 165000 | 80000 | 67500 | 6250 | 153750 | 318750 |  | Installation / construction of new HCs | 16250 | 30000 | 10000 | 56250 | 17500 | 27500 | 42500 | 87500 | 143750 |  | Installation / construction of new HCs | 12500 | 17500 | 82500 | 112500 | 40000 | 30000 | 42500 | 112500 | 225000
| Construction of Public Taps (PTs) |  |  | nos. | 9 | 2500 | 22500 | 7 | 2500 | 17500 |  | Construction of Public Taps (PTs) | 22500 | 12500 | 12500 | 47500 | 17500 | 20000 | 22500 | 60000 | 107500 |  | Construction of Public Taps (PTs) | 17500 | 10000 | 2500 | 30000 | 27500 | 7500 | 5000 | 40000 | 70000 |  | Construction of Public Taps (PTs) | 2500 | 2500 | 2500 | 7500 | 7500 | 20000 | 15000 | 42500 | 50000 |  | Construction of Public Taps (PTs) | 2500 | 2500 | 85000 | 90000 | 15000 | 12500 | 217500 | 245000 | 335000
| Sub-Total 6: |  | 0 |  |  |  | 342000 |  |  | 221500 |  | Sub-Total 6: | 342000 | 181000 | 210500 | 733500 | 221500 | 242000 | 277500 | 741000 | 1474500 |  | Sub-Total 6: | 385000 | 156000 | 60000 | 601000 | 219500 | 169500 | 20000 | 409000 | 1010000 |  | Sub-Total 6: | 49000 | 109500 | 31500 | 190000 | 49500 | 86000 | 117000 | 252500 | 442500 |  | Sub-Total 6: | 37500 | 54500 | 353000 | 445000 | 111000 | 84500 | 319500 | 515000 | 960000
7 | Miscellaneous | [9 empty] | 7 | Miscellaneous | [9 empty] | 7 | Miscellaneous | [9 empty] | 7 | Miscellaneous | [9 empty] | 7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 35000 | 35000 | 1 | 46000 | 46000 |  | Office , IT and Communication Equipment | 35000 | 20000 | 23000 | 78000 | 46000 | 34000 | 40000 | 120000 | 198000 |  | Office , IT and Communication Equipment | 40000 | 15000 | 7000 | 62000 | 48000 | 26000 | 6000 | 80000 | 142000 |  | Office , IT and Communication Equipment | 8000 | 15000 | 5000 | 28000 | 7000 | 14000 | 12000 | 33000 | 61000 |  | Office , IT and Communication Equipment | 5000 | 7000 | 30000 | 42000 | 12000 | 10000 | 32000 | 54000 | 96000
| Cars and Pick-ups |  |  | nos. | 3 | 20000 | 60000 | 2 | 20000 | 40000 |  | Cars and Pick-ups | 60000 | 40000 | 40000 | 140000 | 40000 | 20000 | 40000 | 100000 | 240000 |  | Cars and Pick-ups | 80000 | 20000 | 20000 | 120000 | 20000 | 40000 | 0 | 60000 | 180000 |  | Cars and Pick-ups | 20000 | 20000 | 20000 | 60000 | 0 | 0 | 0 | 0 | 60000 |  | Cars and Pick-ups | 20000 | 20000 | 60000 | 100000 | 0 | 0 | 0 | 0 | 100000
| Motorbikes |  |  | nos, | 4 | 4000 | 16000 | 2 | 4000 | 8000 |  | Motorbikes | 16000 | 16000 | 16000 | 48000 | 8000 | 8000 | 12000 | 28000 | 76000 |  | Motorbikes | 32000 | 12000 | 4000 | 48000 | 8000 | 8000 | 4000 | 20000 | 68000 |  | Motorbikes | 4000 | 8000 | 8000 | 20000 | 4000 | 4000 | 4000 | 12000 | 32000 |  | Motorbikes | 8000 | 8000 | 24000 | 40000 | 4000 | 4000 | 12000 | 20000 | 60000
| ... | [5 empty] | 0 |  |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ... | [5 empty] | 0 |  |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total 7: |  | 0 |  |  |  | 111000 |  |  | 94000 |  | Sub-Total 7: | 111000 | 76000 | 79000 | 266000 | 94000 | 62000 | 92000 | 248000 | 514000 |  | Sub-Total 7: | 152000 | 47000 | 31000 | 230000 | 76000 | 74000 | 10000 | 160000 | 390000 |  | Sub-Total 7: | 32000 | 43000 | 33000 | 108000 | 11000 | 18000 | 16000 | 45000 | 153000 |  | Sub-Total 7: | 33000 | 35000 | 114000 | 182000 | 16000 | 14000 | 44000 | 74000 | 256000
| Total 1 to 7: |  | 3340000 |  |  |  | 2463000 |  |  | 1393500 |  | Total 1 to 7: | 2463000 | 2582500 | 1797500 | 6843000 | 1393500 | 4487000 | 3722000 | 9602500 | 16445500 |  | Total 1 to 7: | 3273500 | 1917500 | 466000 | 5657000 | 2752500 | 2927000 | 237500 | 5917000 | 11574000 |  | Total 1 to 7: | 444000 | 1753100 | 751500 | 2948600 | 408000 | 1574600 | 1853500 | 3836100 | 6784700 |  | Total 1 to 7: | 1213500 | 1737000 | 3252000 | 6202500 | 1159500 | 1241500 | 2073500 | 4474500 | 10677000
8 | Other Costs | [9 empty] | 8 | Other Costs | [9 empty] | 8 | Other Costs | [9 empty] | 8 | Other Costs | [9 empty] | 8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 246300 | 7 |  | 97545 |  | Service Contract Support | 246300 | 258250 | 179750 | 684300 | 97545 | 314090 | 260540 | 672175 | 1356475 |  | Service Contract Support | 327350 | 191750 | 46600 | 565700 | 192675 | 204890 | 16625 | 414190 | 979890 |  | Service Contract Support | 44400 | 175310 | 75150 | 294860 | 28560 | 110222 | 129745 | 268527 | 563387 |  | Service Contract Support | 121350 | 173700 | 325200 | 620250 | 81165 | 86905 | 145145 | 313215 | 933465
| ... |  |  | % | 0 |  | 0 | 0 |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ... | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total 8: |  |  |  | 10 |  | 246300 | 7 |  | 97545 |  | Sub-Total 8: | 246300 | 258250 | 179750 | 684300 | 97545 | 314090 | 260540 | 672175 | 1356475 |  | Sub-Total 8: | 327350 | 191750 | 46600 | 565700 | 192675 | 204890 | 16625 | 414190 | 979890 |  | Sub-Total 8: | 44400 | 175310 | 75150 | 294860 | 28560 | 110222 | 129745 | 268527 | 563387 |  | Sub-Total 8: | 121350 | 173700 | 325200 | 620250 | 81165 | 86905 | 145145 | 313215 | 933465
| Total 1- 8: | [5 empty] | 2709300 |  |  | 1491045 |  | Total 1- 8: | 2709300 | 2840750 | 1977250 | 7527300 | 1491045 | 4801090 | 3982540 | 10274675 | 17801975 |  | Total 1- 8: | 3600850 | 2109250 | 512600 | 6222700 | 2945175 | 3131890 | 254125 | 6331190 | 12553890 |  | Total 1- 8: | 488400 | 1928410 | 826650 | 3243460 | 436560 | 1684822 | 1983245 | 4104627 | 7348087 |  | Total 1- 8: | 1334850 | 1910700 | 3577200 | 6822750 | 1240665 | 1328405 | 2218645 | 4787715 | 11610465
9 | Contingencies and Consultancy Services | [9 empty] | 9 | Contingencies and Consultancy Services | [9 empty] | 9 | Contingencies and Consultancy Services | [9 empty] | 9 | Contingencies and Consultancy Services | [9 empty] | 9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 406395 | 15 |  | 223656.75 | 9.1 | Physical and Price Contingencies | 406395 | 426112.5 | 296587.5 | 1129095 | 223656.75 | 720163.5 | 597381 | 1541201.25 | 2670296.25 | 9.1 | Physical and Price Contingencies | 540127.5 | 316387.5 | 76890 | 933405 | 441776.25 | 469783.5 | 38118.75 | 949678.5 | 1883083.5 | 9.1 | Physical and Price Contingencies | 73260 | 289261.5 | 123997.5 | 486519 | 65484 | 252723.3 | 297486.75 | 615694.05 | 1102213.05 | 9.1 | Physical and Price Contingencies | 200227.5 | 286605 | 536580 | 1023412.5 | 186099.75 | 199260.75 | 332796.75 | 718157.25 | 1741569.75
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 311569.5 | 5 |  | 85735.0875 | 9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) | 311569.5 | 326686.25 | 227383.75 | 865639.5 | 85735.0875 | 276062.675 | 228996.05 | 590793.8125 | 1456433.3125 | 9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) | 414097.75 | 242563.75 | 58949 | 715610.5 | 169347.5625 | 180083.675 | 14612.1875 | 364043.425 | 1079653.925 | 9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) | 56166 | 221767.15 | 95064.75 | 372997.9 | 25102.2 | 96877.265 | 114036.5875 | 236016.0525 | 609013.9525 | 9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) | 153507.75 | 219730.5 | 411378 | 784616.25 | 71338.2375 | 76383.2875 | 127572.0875 | 275293.6125 | 1059909.8625
9.3 | Construction Supervision |  |  | % | 9 |  | 280412.55 | 7 |  | 120029.1225 | 9.3 | Construction Supervision | 280412.55 | 294017.625 | 204645.375 | 779075.55 | 120029.1225 | 386487.745 | 320594.47 | 827111.3375 | 1606186.8875 | 9.3 | Construction Supervision | 372687.975 | 218307.375 | 53054.1 | 644049.45 | 237086.5875 | 252117.145 | 20457.0625 | 509660.795 | 1153710.245 | 9.3 | Construction Supervision | 50549.4 | 199590.435 | 85558.275 | 335698.11 | 35143.08 | 135628.171 | 159651.2225 | 330422.4735 | 666120.5835 | 9.3 | Construction Supervision | 138156.975 | 197757.45 | 370240.2 | 706154.625 | 99873.5325 | 106936.6025 | 178600.9225 | 385411.0575 | 1091565.6825
| Sub-Total 9: | [5 empty] | 998377.05 |  |  | 429420.96 |  | Sub-Total 9: | 998377.05 | 1046816.375 | 728616.625 | 2773810.05 | 429420.96 | 1382713.92 | 1146971.52 | 2959106.4 | 5732916.45 |  | Sub-Total 9: | 1326913.225 | 777258.625 | 188893.1 | 2293064.95 | 848210.4 | 901984.32 | 73188 | 1823382.72 | 4116447.67 |  | Sub-Total 9: | 179975.4 | 710619.085 | 304620.525 | 1195215.01 | 125729.28 | 485228.736 | 571174.56 | 1182132.576 | 2377347.586 |  | Sub-Total 9: | 491892.225 | 704092.95 | 1318198.2 | 2514183.375 | 357311.52 | 382580.64 | 638969.76 | 1378861.92 | 3893045.295
| Grand Total 1 to 9: (EUR) | [5 empty] | 3707677.05 |  |  | 1920465.96 |  | Grand Total 1 to 9: (EUR) | 3707677.05 | 3887566.375 | 2705866.625 | 10301110.05 | 1920465.96 | 6183803.92 | 5129511.52 | 13233781.4 | 23534891.45 |  | Grand Total 1 to 9: (EUR) | 4927763.225 | 2886508.625 | 701493.1 | 8515764.95 | 3793385.4 | 4033874.32 | 327313 | 8154572.72 | 16670337.67 |  | Grand Total 1 to 9: (EUR) | 668375.4 | 2639029.085 | 1131270.525 | 4438675.01 | 562289.28 | 2170050.736 | 2554419.56 | 5286759.576 | 9725434.586 |  | Grand Total 1 to 9: (EUR) | 1826742.225 | 2614792.95 | 4895398.2 | 9336933.375 | 1597976.52 | 1710985.64 | 2857614.76 | 6166576.92 | 15503510.295
| Grand Total 1 to 9: (KShs) | [5 empty] | 304029518.1 |  |  | 157478208.72 |  | Grand Total 1 to 9: (KShs) | 304029518.1 | 318780442.75 | 221881063.25 | 844691024.1 | 157478208.72 | 507071921.44 | 420619944.64 | 1085170074.8 | 1929861098.9 |  | Grand Total 1 to 9: (KShs) | 404076584.45 | 236693707.25 | 57522434.2 | 698292725.9 | 311057602.8 | 330777694.24 | 26839666 | 668674963.04 | 1366967688.94 |  | Grand Total 1 to 9: (KShs) | 54806782.8 | 216400384.97 | 92764183.05 | 363971350.82 | 46107720.96 | 177944160.352 | 209462403.92 | 433514285.232 | 797485636.052 |  | Grand Total 1 to 9: (KShs) | 149792862.45 | 214413021.9 | 401422652.4 | 765628536.75 | 131034074.64 | 140300822.48 | 234324410.32 | 505659307.44 | 1271287844.19
NZOIA Cluster Water Supply Project |  |  |  |  | Bungoma |  |  |  |  | Annex 3.1.2
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Good |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Good |  | LS | 1 | 0 | 0 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 50000 |  |  |  | 10000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Poor |  | LS | 1 | 80000 | 80000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Good |  | LS | 1 | 100000 | 100000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Acceptable |  | LS | 1 | 7000 | 7000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Acceptable |  | LS | 1 | 22000 | 22000 |  |  | 0
| Rehabilitation of existing Boreholes | Acceptable |  | LS | 1 | 24000 | 24000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS |  |  | 0 | 1 | 90000 | 90000
| New Water Treatment Plant |  |  | m3/d | 2400 | 450 | 1080000 | 2400 | 450 | 1080000
| New Storage Capacities |  |  | m3 | 250 | 200 | 50000 | 250 | 200 | 50000
| New Low & High Lift Pumping Facilities |  |  | m3/d | 2400 | 40 | 96000 | 2400 | 40 | 96000
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 1459000 |  |  | 1316000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) | Good |  | m | 20000 | 6 | 120000 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 | 20000 | 110 | 2200000
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 830000 |  |  |  | 120000 |  |  | 2200000
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | m3 |  | 0 | 0 |  |  | 0
| Refurbishment of existing Ground Reservoirs | Good |  | LS | 1 | 44000 | 44000 |  |  | 0
| Additional Storage Capacities |  |  | m3 |  | 250 | 0 |  |  | 0
| Sub-Total 4: |  | 300000 |  |  |  | 44000 |  |  | 0
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 1500 | 65 | 97500 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 3800 | 25 | 95000 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 2200 | 15 | 33000 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 1900 | 65 | 123500 | 2300 | 65 | 149500
| New Distribution Lines (DN50-DN80) |  |  | m | 9300 | 25 | 232500 | 12000 | 25 | 300000
| New Service Lines (DN25-DN40) |  |  | m | 7400 | 15 | 111000 | 14500 | 15 | 217500
| Sub-Total 5: |  | 450000 |  |  |  | 692500 |  |  | 667000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 3000 | 35 | 105000 | 3700 | 35 | 129500
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 1150 | 15 | 17250 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 1850 | 25 | 46250 | 3700 | 25 | 92500
| Construction of Public Taps (PTs) |  |  | nos. | 5 | 2500 | 12500 | 8 | 2500 | 20000
| Sub-Total 6: |  | 0 |  |  |  | 181000 |  |  | 242000
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 20000 | 20000 | 1 | 34000 | 34000
| Cars and Pick-ups |  |  | nos. | 2 | 20000 | 40000 | 1 | 20000 | 20000
| Motorbikes |  |  | nos, | 4 | 4000 | 16000 | 2 | 4000 | 8000
| ... | [5 empty] | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 76000 |  |  | 62000
| Total 1 to 7: |  | 1630000 |  |  |  | 2582500 |  |  | 4487000
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 258250 | 7 |  | 314090
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 258250 | 7 |  | 314090
| Total 1- 8: | [5 empty] | 2840750 |  |  | 4801090
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 426112.5 | 15 |  | 720163.5
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 326686.25 | 5 |  | 276062.675
9.3 | Construction Supervision |  |  | % | 9 |  | 294017.625 | 7 |  | 386487.745
| Sub-Total 9: | [5 empty] | 1046816.375 |  |  | 1382713.92
| Grand Total 1 to 9: (EUR) | [5 empty] | 3887566.375 |  |  | 6183803.92
| Grand Total 1 to 9: (KShs) | [5 empty] | 318780442.75 |  |  | 507071921.44
NZOIA Cluster Water Supply Project |  |  |  |  | Webuye |  |  |  |  | Annex 3.1.3
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Acceptable |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptable |  | LS | 1 | 0 | 0 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 20000 |  |  |  | 10000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Poor |  | LS | 1 | 90000 | 90000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Acceptable |  | LS | 1 | 310000 | 310000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Acceptable |  | LS | 1 | 23000 | 23000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Acceptable |  | LS | 1 | 34000 | 34000 |  |  | 0
| Rehabilitation of existing Boreholes | - |  | LS | 1 |  | 0 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 110000 | 110000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 | 4200 | 450 | 1890000
| New Storage Capacities |  |  | m3 |  | 200 | 0 | 500 | 200 | 100000
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 | 4200 | 40 | 168000
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 457000 |  |  | 2268000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) | Acceptable |  | m | 3000 | 10 | 30000 |  |  | 0
| New Transmission Main (DN ...) |  |  | m | 1000 | 110 | 110000 | 2000 | 110 | 220000
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 125000 |  |  |  | 140000 |  |  | 220000
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | m3 |  | 0 | 0 |  |  | 0
| Refurbishment of existing Ground Reservoirs | Good |  | LS | 1 | 24000 | 24000 |  |  | 0
| Additional Storage Capacities |  |  | m3 |  | 250 | 0 | 450 | 250 | 112500
| Sub-Total 4: |  | 140000 |  |  |  | 24000 |  |  | 112500
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 2200 | 65 | 143000 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 6500 | 25 | 162500 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 2300 | 15 | 34500 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 2100 | 65 | 136500 | 2600 | 65 | 169000
| New Distribution Lines (DN50-DN80) |  |  | m | 10800 | 25 | 270000 | 13600 | 25 | 340000
| New Service Lines (DN25-DN40) |  |  | m | 8700 | 15 | 130500 | 16200 | 15 | 243000
| Sub-Total 5: |  | 675000 |  |  |  | 877000 |  |  | 752000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 3500 | 35 | 122500 | 4250 | 35 | 148750
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 1200 | 15 | 18000 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 2300 | 25 | 57500 | 4250 | 25 | 106250
| Construction of Public Taps (PTs) |  |  |  | 5 | 2500 | 12500 | 9 | 2500 | 22500
| Sub-Total 6: |  | 0 |  |  |  | 210500 |  |  | 277500
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 23000 | 23000 | 1 | 40000 | 40000
| Cars and Pick-ups |  |  | nos. | 2 | 20000 | 40000 | 2 | 20000 | 40000
| Motorbikes |  |  | nos, | 4 | 4000 | 16000 | 3 | 4000 | 12000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 79000 |  |  | 92000
| Total 1 to 7: |  | 960000 |  |  |  | 1797500 |  |  | 3722000
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 179750 | 7 |  | 260540
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 179750 | 7 |  | 260540
| Total 1- 8: | [5 empty] | 1977250 |  |  | 3982540
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 296587.5 | 15 |  | 597381
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 227383.75 | 5 |  | 228996.05
9.3 | Construction Supervision |  |  | % | 9 |  | 204645.375 | 7 |  | 320594.47
| Sub-Total 9: | [5 empty] | 728616.625 |  |  | 1146971.52
| Grand Total 1 to 9: (EUR) | [5 empty] | 2705866.625 |  |  | 5129511.52
| Grand Total 1 to 9: (KShs) | [5 empty] | 221881063.25 |  |  | 420619944.64
NZOIA Cluster Water Supply Project |  |  |  |  | Kakamega |  |  |  |  | Annex 3.1.4
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Acceptable |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptable |  | LS | 1 | 5000 | 5000 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 0 |  |  |  | 15000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Acceptable |  | LS | 1 | 160000 | 160000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Acceptable |  | LS | 1 | 810000 | 810000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Acceptable |  | LS | 1 | 33000 | 33000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Good |  | LS | 1 | 45000 | 45000 |  |  | 0
| Rehabilitation of existing Boreholes | Acceptable |  | LS | 1 | 16000 | 16000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 80000 | 80000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 | 2400 | 450 | 1080000
| New Storage Capacities |  |  | m3 |  | 200 | 0 | 250 | 200 | 50000
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 | 2400 | 40 | 96000
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 1064000 |  |  | 1306000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) | Acceptable |  | m | 9000 | 10 | 90000 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 | 3000 | 110 | 330000
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 370000 |  |  |  | 90000 |  |  | 330000
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks | Acceptable |  | LS | 1 | 51000 | 51000 |  |  | 0
| Refurbishment of existing Ground Reservoirs |  |  | m3 |  | 0 | 0 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 200 | 250 | 50000 | 500 | 250 | 125000
| Sub-Total 4: |  | 200000 |  |  |  | 101000 |  |  | 125000
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 3900 | 65 | 253500 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 11000 | 25 | 275000 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 5600 | 15 | 84000 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 3400 | 65 | 221000 | 2400 | 65 | 156000
| New Distribution Lines (DN50-DN80) |  |  | m | 17100 | 25 | 427500 | 12600 | 25 | 315000
| New Service Lines (DN25-DN40) |  |  | m | 13700 | 15 | 205500 | 15000 | 15 | 225000
| Sub-Total 5: |  | 1125000 |  |  |  | 1466500 |  |  | 696000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 6500 | 35 | 227500 | 3200 | 35 | 112000
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 2250 | 15 | 33750 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 4250 | 25 | 106250 | 3200 | 25 | 80000
| Construction of Public Taps (PTs) |  |  |  | 7 | 2500 | 17500 | 11 | 2500 | 27500
| Sub-Total 6: |  | 0 |  |  |  | 385000 |  |  | 219500
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 40000 | 40000 | 1 | 48000 | 48000
| Cars and Pick-ups |  |  | nos. | 4 | 20000 | 80000 | 1 | 20000 | 20000
| Motorbikes |  |  | nos, | 8 | 4000 | 32000 | 2 | 4000 | 8000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 152000 |  |  | 76000
| Total 1 to 7: |  | 1695000 |  |  |  | 3273500 |  |  | 2752500
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 327350 | 7 |  | 192675
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 327350 | 7 |  | 192675
| Total 1- 8: | [5 empty] | 3600850 |  |  | 2945175
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 540127.5 | 15 |  | 441776.25
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 414097.75 | 5 |  | 169347.5625
9.3 | Construction Supervision |  |  | % | 9 |  | 372687.975 | 7 |  | 237086.5875
| Sub-Total 9: | [5 empty] | 1326913.225 |  |  | 848210.4
| Grand Total 1 to 9: (EUR) | [5 empty] | 4927763.225 |  |  | 3793385.4
| Grand Total 1 to 9: (KShs) | [5 empty] | 404076584.45 |  |  | 311057602.8
NZOIA Cluster Water Supply Project |  |  |  |  | Busia |  |  |  |  | Annex 3.1.5
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Poor |  | LS | 1 | 15000 | 15000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptable |  | m | 700 | 10 | 7000 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 50000 |  |  |  | 22000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Acceptable |  | LS | 1 | 60000 | 60000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Poor |  | LS | 1 | 450000 | 450000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Poor |  | LS | 1 | 13000 | 13000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Poor |  | LS | 1 | 50000 | 50000 |  |  | 0
| Rehabilitation of existing Boreholes | Acceptable |  | LS | 1 | 28000 | 28000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 70000 | 70000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 | 2400 | 450 | 1080000
| New Storage Capacities |  |  | m3 |  | 200 | 0 | 250 | 200 | 50000
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 | 2400 | 40 | 96000
| New Boreholes |  |  | nos. | 6 | 20000 | 120000 |  |  | 0
| Sub-Total 2: |  | 200000 |  |  |  | 721000 |  |  | 1296000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m | 12000 | 10 | 120000 |  |  | 0
| New Transmission Main (DN ...) |  |  | m | 700 | 110 | 77000 | 6000 | 110 | 660000
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 575000 |  |  |  | 197000 |  |  | 660000
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | LS | 1 | 108000 | 108000 |  |  | 0
| Refurbishment of existing Ground Reservoirs |  |  | m3 |  | 0 | 0 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 200 | 250 | 50000 | 350 | 250 | 87500
| Sub-Total 4: |  | 111000 |  |  |  | 158000 |  |  | 87500
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 1100 | 65 | 71500 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 2900 | 25 | 72500 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 1500 | 15 | 22500 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 1800 | 65 | 117000 | 2200 | 65 | 143000
| New Distribution Lines (DN50-DN80) |  |  | m | 9000 | 25 | 225000 | 11600 | 25 | 290000
| New Service Lines (DN25-DN40) |  |  | m | 7200 | 15 | 108000 | 13800 | 15 | 207000
| Sub-Total 5: |  | 450000 |  |  |  | 616500 |  |  | 640000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 2600 | 35 | 91000 | 2700 | 35 | 94500
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 1000 | 15 | 15000 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 1600 | 25 | 40000 | 2700 | 25 | 67500
| Construction of Public Taps (PTs) |  |  |  | 4 | 2500 | 10000 | 3 | 2500 | 7500
| Sub-Total 6: |  | 0 |  |  |  | 156000 |  |  | 169500
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 15000 | 15000 | 1 | 26000 | 26000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 | 2 | 20000 | 40000
| Motorbikes |  |  | nos, | 3 | 4000 | 12000 | 2 | 4000 | 8000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 47000 |  |  | 74000
| Total 1 to 7: |  | 1386000 |  |  |  | 1917500 |  |  | 2927000
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 191750 | 7 |  | 204890
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 191750 | 7 |  | 204890
| Total 1- 8: | [5 empty] | 2109250 |  |  | 3131890
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 316387.5 | 15 |  | 469783.5
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 242563.75 | 5 |  | 180083.675
9.3 | Construction Supervision |  |  | % | 9 |  | 218307.375 | 7 |  | 252117.145
| Sub-Total 9: | [5 empty] | 777258.625 |  |  | 901984.32
| Grand Total 1 to 9: (EUR) | [5 empty] | 2886508.625 |  |  | 4033874.32
| Grand Total 1 to 9: (KShs) | [5 empty] | 236693707.25 |  |  | 330777694.24
NZOIA Cluster Water Supply Project |  |  |  |  | Nambale |  |  |  |  | Annex 3.1.6
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure |  |  | LS | 1 |  | 0 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 0 |  |  |  | 0 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Acceptable |  | LS | 1 | 20000 | 20000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities |  |  | LS | 1 |  | 0 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of existing Boreholes | Acceptable |  | LS | 1 | 12000 | 12000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 20000 | 20000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 |  |  | 0
| New Storage Capacities |  |  | m3 |  | 200 | 0 |  |  | 0
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 |  |  | 0
| New Boreholes |  |  | nos. | 6 | 20000 | 120000 | 4 | 20000 | 80000
| Sub-Total 2: |  | 0 |  |  |  | 152000 |  |  | 100000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 25000 |  |  |  | 0 |  |  | 0
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | LS | 1 | 12000 | 12000 |  |  | 0
| Refurbishment of existing Ground Reservoirs |  |  | m3 |  | 0 | 0 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 30 | 250 | 7500 | 250 | 250 | 62500
| Sub-Total 4: |  | 200000 |  |  |  | 19500 |  |  | 62500
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 200 | 65 | 13000 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 500 | 25 | 12500 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 300 | 15 | 4500 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 600 | 65 | 39000 | 200 | 65 | 13000
| New Distribution Lines (DN50-DN80) |  |  | m | 3100 | 25 | 77500 | 800 | 25 | 20000
| New Service Lines (DN25-DN40) |  |  | m | 3800 | 15 | 57000 | 800 | 15 | 12000
| Sub-Total 5: |  | 0 |  |  |  | 203500 |  |  | 45000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 1000 | 35 | 35000 | 250 | 35 | 8750
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 250 | 15 | 3750 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 750 | 25 | 18750 | 250 | 25 | 6250
| Construction of Public Taps (PTs) |  |  |  | 1 | 2500 | 2500 | 2 | 2500 | 5000
| Sub-Total 6: |  | 0 |  |  |  | 60000 |  |  | 20000
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 7000 | 7000 | 1 | 6000 | 6000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 |  |  | 0
| Motorbikes |  |  | nos, | 1 | 4000 | 4000 | 1 | 4000 | 4000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 12000 |  |  |  | 31000 |  |  | 10000
| Total 1 to 7: |  | 237000 |  |  |  | 466000 |  |  | 237500
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 46600 | 7 |  | 16625
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 46600 | 7 |  | 16625
| Total 1- 8: | [5 empty] | 512600 |  |  | 254125
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 76890 | 15 |  | 38118.75
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 58949 | 5 |  | 14612.1875
9.3 | Construction Supervision |  |  | % | 9 |  | 53054.1 | 7 |  | 20457.0625
| Sub-Total 9: | [5 empty] | 188893.1 |  |  | 73188
| Grand Total 1 to 9: (EUR) | [5 empty] | 701493.1 |  |  | 327313
| Grand Total 1 to 9: (KShs) | [5 empty] | 57522434.2 |  |  | 26839666
NZOIA Cluster Water Supply Project |  |  |  |  | Butere |  |  |  |  | Annex 3.1.7
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure |  |  | LS | 1 |  | 0 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 0 |  |  |  | 0 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Acceptable |  | LS | 1 | 20000 | 20000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities |  |  | LS | 1 |  | 0 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of existing Boreholes | Acceptable |  | LS | 1 | 12000 | 12000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 20000 | 20000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 |  |  | 0
| New Storage Capacities |  |  | m3 |  | 200 | 0 |  |  | 0
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 |  |  | 0
| New Boreholes |  |  | nos. | 6 | 20000 | 120000 | 6 | 20000 | 120000
| Sub-Total 2: |  | 0 |  |  |  | 152000 |  |  | 140000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) | Acceptable |  | m |  |  | 0 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 6000 |  |  |  | 0 |  |  | 0
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | LS | 1 | 5000 | 5000 |  |  | 0
| Refurbishment of existing Ground Reservoirs |  |  | m3 |  | 0 | 0 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 100 | 250 | 25000 | 200 | 250 | 50000
| Sub-Total 4: |  | 23000 |  |  |  | 30000 |  |  | 50000
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 200 | 65 | 13000 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 600 | 25 | 15000 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 500 | 15 | 7500 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 500 | 65 | 32500 | 500 | 65 | 32500
| New Distribution Lines (DN50-DN80) |  |  | m | 2600 | 25 | 65000 | 2900 | 25 | 72500
| New Service Lines (DN25-DN40) |  |  | m | 3200 | 15 | 48000 | 3500 | 15 | 52500
| Sub-Total 5: |  | 0 |  |  |  | 181000 |  |  | 157500
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 800 | 35 | 28000 | 700 | 35 | 24500
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 150 | 15 | 2250 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 650 | 25 | 16250 | 700 | 25 | 17500
| Construction of Public Taps (PTs) |  |  |  | 1 | 2500 | 2500 | 3 | 2500 | 7500
| Sub-Total 6: |  | 0 |  |  |  | 49000 |  |  | 49500
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 8000 | 8000 | 1 | 7000 | 7000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 |  |  | 0
| Motorbikes |  |  | nos, | 1 | 4000 | 4000 | 1 | 4000 | 4000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 32000 |  |  | 11000
| Total 1 to 7: |  | 29000 |  |  |  | 444000 |  |  | 408000
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 44400 | 7 |  | 28560
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 44400 | 7 |  | 28560
| Total 1- 8: | [5 empty] | 488400 |  |  | 436560
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 73260 | 15 |  | 65484
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 56166 | 5 |  | 25102.2
9.3 | Construction Supervision |  |  | % | 9 |  | 50549.4 | 7 |  | 35143.08
| Sub-Total 9: | [5 empty] | 179975.4 |  |  | 125729.28
| Grand Total 1 to 9: (EUR) | [5 empty] | 668375.4 |  |  | 562289.28
| Grand Total 1 to 9: (KShs) | [5 empty] | 54806782.8 |  |  | 46107720.96
NZOIA Cluster Water Supply Project |  |  |  |  | Mumias |  |  |  |  | Annex 3.1.8
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Acceptable |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptable |  | LS | 1 | 15000 | 15000 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 50000 |  |  |  | 25000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Poor |  | LS | 1 | 50000 | 50000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Poor |  | LS | 1 | 325000 | 325000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Acceptable |  | LS | 1 | 19000 | 19000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Poor |  | LS | 1 | 36000 | 36000 |  |  | 0
| Rehabilitation of existing Boreholes | Acceptable |  | LS | 1 | 4000 | 4000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 20000 | 20000
| New Water Treatment Plant |  |  | m3/d | 1440 | 450 | 648000 | 1440 | 450 | 648000
| New Storage Capacities |  |  | m3 | 150 | 200 | 30000 | 150 | 200 | 30000
| New Low & High Lift Pumping Facilities |  |  | m3/d | 1440 | 40 | 57600 | 1440 | 40 | 57600
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 1169600 |  |  | 755600
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m | 3500 | 10 | 35000 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 | 3500 | 110 | 385000
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 79000 |  |  |  | 35000 |  |  | 385000
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | m3 |  | 0 | 0 |  |  | 0
| Refurbishment of existing Ground Reservoirs | Acceptable |  | LS | 1 | 28000 | 28000 |  |  | 0
| Additional Storage Capacities |  |  | m3 |  | 250 | 0 | 200 | 250 | 50000
| Sub-Total 4: |  | 75000 |  |  |  | 28000 |  |  | 50000
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 300 | 65 | 19500 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 900 | 25 | 22500 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 600 | 15 | 9000 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 1000 | 65 | 65000 | 1000 | 65 | 65000
| New Distribution Lines (DN50-DN80) |  |  | m | 5300 | 25 | 132500 | 5000 | 25 | 125000
| New Service Lines (DN25-DN40) |  |  | m | 6300 | 15 | 94500 | 6000 | 15 | 90000
| Sub-Total 5: |  | 75000 |  |  |  | 343000 |  |  | 280000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 1900 | 35 | 66500 | 1100 | 35 | 38500
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 700 | 15 | 10500 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 1200 | 25 | 30000 | 1100 | 25 | 27500
| Construction of Public Taps (PTs) |  |  |  | 1 | 2500 | 2500 | 8 | 2500 | 20000
| Sub-Total 6: |  | 0 |  |  |  | 109500 |  |  | 86000
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 15000 | 15000 | 1 | 14000 | 14000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 |  |  | 0
| Motorbikes |  |  | nos, | 2 | 4000 | 8000 | 1 | 4000 | 4000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 43000 |  |  | 18000
| Total 1 to 7: |  | 279000 |  |  |  | 1753100 |  |  | 1574600
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 175310 | 7 |  | 110222
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 175310 | 7 |  | 110222
| Total 1- 8: | [5 empty] | 1928410 |  |  | 1684822
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 289261.5 | 15 |  | 252723.3
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 221767.15 | 5 |  | 96877.265
9.3 | Construction Supervision |  |  | % | 9 |  | 199590.435 | 7 |  | 135628.171
| Sub-Total 9: | [5 empty] | 710619.085 |  |  | 485228.736
| Grand Total 1 to 9: (EUR) | [5 empty] | 2639029.085 |  |  | 2170050.736
| Grand Total 1 to 9: (KShs) | [5 empty] | 216400384.97 |  |  | 177944160.352
NZOIA Cluster Water Supply Project |  |  |  |  | Kapenguria |  |  |  |  | Annex 3.1.9
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Acceptable |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptabel |  | LS | 1 | 15000 | 15000 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1500 | 110 | 165000
| Sub-Total 1: |  | 0 |  |  |  | 25000 |  |  | 165000
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Acceptable |  | LS | 1 | 20000 | 20000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Poor |  | LS | 1 | 150000 | 150000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Poor |  | LS | 1 | 12000 | 12000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Poor |  | LS | 1 | 11000 | 11000 |  |  | 0
| Rehabilitation of existing Boreholes |  |  | LS | 1 |  | 0 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 40000 | 40000
| New Water Treatment Plant |  |  | m3/d | 400 | 450 | 180000 | 2000 | 450 | 900000
| New Storage Capacities |  |  | m3 | 100 | 200 | 20000 | 200 | 200 | 40000
| New Low & High Lift Pumping Facilities |  |  | m3/d | 400 | 40 | 16000 | 2000 | 40 | 80000
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 409000 |  |  | 1060000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 0 |  |  |  | 0 |  |  | 0
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | LS | 1 | 6000 | 6000 |  |  | 0
| Refurbishment of existing Ground Reservoirs |  |  | m3 |  | 0 | 0 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 250 | 250 | 62500 | 350 | 250 | 87500
| Sub-Total 4: |  | 16000 |  |  |  | 68500 |  |  | 87500
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 200 | 65 | 13000 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 600 | 25 | 15000 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 300 | 15 | 4500 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 500 | 65 | 32500 | 1400 | 65 | 91000
| New Distribution Lines (DN50-DN80) |  |  | m | 2800 | 25 | 70000 | 7400 | 25 | 185000
| New Service Lines (DN25-DN40) |  |  | m | 3300 | 15 | 49500 | 8800 | 15 | 132000
| Sub-Total 5: |  | 45000 |  |  |  | 184500 |  |  | 408000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 500 | 35 | 17500 | 1700 | 35 | 59500
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 100 | 15 | 1500 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 400 | 25 | 10000 | 1700 | 25 | 42500
| Construction of Public Taps (PTs) |  |  |  | 1 | 2500 | 2500 | 6 | 2500 | 15000
| Sub-Total 6: |  | 0 |  |  |  | 31500 |  |  | 117000
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 5000 | 5000 | 1 | 12000 | 12000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 |  |  | 0
| Motorbikes |  |  | nos, | 2 | 4000 | 8000 | 1 | 4000 | 4000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 33000 |  |  | 16000
| Total 1 to 7: |  | 61000 |  |  |  | 751500 |  |  | 1853500
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 75150 | 7 |  | 129745
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 75150 | 7 |  | 129745
| Total 1- 8: | [5 empty] | 826650 |  |  | 1983245
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 123997.5 | 15 |  | 297486.75
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 95064.75 | 5 |  | 114036.5875
9.3 | Construction Supervision |  |  | % | 9 |  | 85558.275 | 7 |  | 159651.2225
| Sub-Total 9: | [5 empty] | 304620.525 |  |  | 571174.56
| Grand Total 1 to 9: (EUR) | [5 empty] | 1131270.525 |  |  | 2554419.56
| Grand Total 1 to 9: (KShs) | [5 empty] | 92764183.05 |  |  | 209462403.92
NZOIA Cluster Water Supply Project |  |  |  |  | Makutano |  |  |  |  | Annex 3.1.10
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Acceptable |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptable |  | LS | 1 |  | 0 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 50000 |  |  |  | 10000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Poor |  | LS | 1 | 190000 | 190000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Poor |  | LS | 1 | 12000 | 12000 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Poor |  | LS | 1 | 13000 | 13000 |  |  | 0
| Rehabilitation of existing Boreholes |  |  | LS | 1 |  | 0 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 40000 | 40000
| New Water Treatment Plant |  |  | m3/d | 1200 | 450 | 540000 | 1200 | 450 | 540000
| New Storage Capacities |  |  | m3 | 150 | 200 | 30000 | 150 | 200 | 30000
| New Low & High Lift Pumping Facilities |  |  | m3/d | 1200 | 40 | 48000 | 1200 | 40 | 48000
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 833000 |  |  | 658000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 90000 |  |  |  | 0 |  |  | 0
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks | Acceptable |  | LS | 1 | 3000 | 3000 |  |  | 0
| Refurbishment of existing Ground Reservoirs | Acceptable |  | LS | 1 | 2000 | 2000 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 250 | 250 | 62500 | 250 | 250 | 62500
| Sub-Total 4: |  | 17000 |  |  |  | 67500 |  |  | 62500
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 200 | 65 | 13000 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 600 | 25 | 15000 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 400 | 15 | 6000 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 700 | 65 | 45500 | 1100 | 65 | 71500
| New Distribution Lines (DN50-DN80) |  |  | m | 3600 | 25 | 90000 | 5600 | 25 | 140000
| New Service Lines (DN25-DN40) |  |  | m | 4200 | 15 | 63000 | 6700 | 15 | 100500
| Sub-Total 5: |  | 45000 |  |  |  | 232500 |  |  | 312000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 600 | 35 | 21000 | 1600 | 35 | 56000
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 100 | 15 | 1500 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 500 | 25 | 12500 | 1600 | 25 | 40000
| Construction of Public Taps (PTs) |  |  |  | 1 | 2500 | 2500 | 6 | 2500 | 15000
| Sub-Total 6: |  | 0 |  |  |  | 37500 |  |  | 111000
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 5000 | 5000 | 1 | 12000 | 12000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 |  |  | 0
| Motorbikes |  |  | nos, | 2 | 4000 | 8000 | 1 | 4000 | 4000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 33000 |  |  | 16000
| Total 1 to 7: |  | 202000 |  |  |  | 1213500 |  |  | 1159500
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 121350 | 7 |  | 81165
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 121350 | 7 |  | 81165
| Total 1- 8: | [5 empty] | 1334850 |  |  | 1240665
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 200227.5 | 15 |  | 186099.75
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 153507.75 | 5 |  | 71338.2375
9.3 | Construction Supervision |  |  | % | 9 |  | 138156.975 | 7 |  | 99873.5325
| Sub-Total 9: | [5 empty] | 491892.225 |  |  | 357311.52
| Grand Total 1 to 9: (EUR) | [5 empty] | 1826742.225 |  |  | 1597976.52
| Grand Total 1 to 9: (KShs) | [5 empty] | 149792862.45 |  |  | 131034074.64
NZOIA Cluster Water Supply Project |  |  |  |  | Malakisi |  |  |  |  | Annex 3.1.11
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Good |  | LS | 1 |  | 0 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Good |  | LS | 1 |  | 0 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 50000 |  |  |  | 0 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Good |  | LS | 1 | 50000 | 50000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs | Good |  | LS | 1 | 0 | 0 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station | Good |  | LS | 1 | 5000 | 5000 |  |  | 0
| Rehabilitation of existing Boreholes | Good |  | LS | 1 | 8000 | 8000 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 25000 | 25000
| New Water Treatment Plant |  |  | m3/d |  | 450 | 0 | 1700 | 450 | 765000
| New Storage Capacities |  |  | m3 |  | 200 | 0 |  |  | 0
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 |  |  | 0
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 680000 |  |  |  | 63000 |  |  | 790000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m |  |  | 0 |  |  | 0
| New Transmission Main (DN ...) |  |  | m | 15000 | 85 | 1275000 |  |  | 0
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 550000 |  |  |  | 1275000 |  |  | 0
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks |  |  | m3 |  | 0 | 0 |  |  | 0
| Refurbishment of existing Ground Reservoirs | Good |  | LS | 1 | 10000 | 10000 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 250 | 250 | 62500 | 100 | 250 | 25000
| Sub-Total 4: |  | 125000 |  |  |  | 72500 |  |  | 25000
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 500 | 65 | 32500 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 1100 | 25 | 27500 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 600 | 15 | 9000 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m | 600 | 65 | 39000 | 1100 | 65 | 71500
| New Distribution Lines (DN50-DN80) |  |  | m | 3000 | 25 | 75000 | 6000 | 25 | 150000
| New Service Lines (DN25-DN40) |  |  | m | 3600 | 15 | 54000 | 7100 | 15 | 106500
| Sub-Total 5: |  | 330000 |  |  |  | 237000 |  |  | 328000
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 900 | 35 | 31500 | 1200 | 35 | 42000
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 200 | 15 | 3000 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 700 | 25 | 17500 | 1200 | 25 | 30000
| Construction of Public Taps (PTs) |  |  |  | 1 | 2500 | 2500 | 5 | 2500 | 12500
| Sub-Total 6: |  | 0 |  |  |  | 54500 |  |  | 84500
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 7000 | 7000 | 1 | 10000 | 10000
| Cars and Pick-ups |  |  | nos. | 1 | 20000 | 20000 |  |  | 0
| Motorbikes |  |  | nos, | 2 | 4000 | 8000 | 1 | 4000 | 4000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 35000 |  |  | 14000
| Total 1 to 7: |  | 1735000 |  |  |  | 1737000 |  |  | 1241500
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 173700 | 7 |  | 86905
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 173700 | 7 |  | 86905
| Total 1- 8: | [5 empty] | 1910700 |  |  | 1328405
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 286605 | 15 |  | 199260.75
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 219730.5 | 5 |  | 76383.2875
9.3 | Construction Supervision |  |  | % | 9 |  | 197757.45 | 7 |  | 106936.6025
| Sub-Total 9: | [5 empty] | 704092.95 |  |  | 382580.64
| Grand Total 1 to 9: (EUR) | [5 empty] | 2614792.95 |  |  | 1710985.64
| Grand Total 1 to 9: (KShs) | [5 empty] | 214413021.9 |  |  | 140300822.48
NZOIA Cluster Water Supply Project |  |  |  |  | Kimilili |  |  |  |  | Annex 3..12
Feasibility Study
Investment Costs Assessment - Project Phase 1 and 2 | [6 empty] | Exchange Rate: 1 EUR / Kshs ( July 2003) | 82
No. | Description |  | Assessment | Unit |  | Project Phase 1 |  |  | Project Phase 2
|  |  | of |  |  | (01/07/2004 - 30/06/2007) |  |  | (01/07/2007 - 30/06/2010)
|  |  | Residual |  | Quant. | Unit Cost | Total | Quant. | Unit Cost | Total
Value
|  |  | EUR |  |  | EUR | EUR |  | EUR | EUR
1 | Raw Water Production
| Rehabilitation of Weir and Intake Structure | Acceptabel |  | LS | 1 | 10000 | 10000 | 1 |  | 0
| Rehabilitation of existing Raw Water Main (DN ...) | Acceptabel |  | LS | 1 | 52000 | 52000 | 1 |  | 0
| Extension of Intake Facilities |  |  | LS | 1 |  | 0 | 1 |  | 0
| New Raw Water Main (DN ...) |  |  | LS | 1 |  | 0 | 1 |  | 0
| Sub-Total 1: |  | 0 |  |  |  | 62000 |  |  | 0
2 | Water Treatment Plant
| Refurbishment of Offices, Lab. & Workshops | Poor |  | LS | 1 | 120000 | 120000 |  |  | 0
| Rehabilitation of existing Water Treatment Facilities | Good |  | LS | 1 | 150000 | 150000 |  |  | 0
| Refurbishment Storage Tanks & Reservoirs |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of Low & High Lift Pumping Station |  |  | LS | 1 |  | 0 |  |  | 0
| Rehabilitation of existing Boreholes |  |  | LS | 1 |  | 0 |  |  | 0
|  |  |  | LS | 1 |  | 0 |  |  | 0
| New Office, Workshop and Storage Facilities |  |  | LS | 1 |  | 0 | 1 | 40000 | 40000
| New Water Treatment Plant |  |  | m3/d | 3000 | 450 | 1350000 | 2400 | 450 | 1080000
| New Storage Capacities |  |  | m3 | 300 | 200 | 60000 | 250 | 200 | 50000
| New Low & High Lift Pumping Facilities |  |  | m3/d |  | 40 | 0 |  |  | 0
| New Boreholes |  |  | nos. |  |  | 0 |  |  | 0
| Sub-Total 2: |  | 0 |  |  |  | 1680000 |  |  | 1170000
3 | Transmission and Pumping Main
| Rehabilitation of existing Transmission Main (DN ...) |  |  | m | 3000 | 10 | 30000 |  |  | 0
| New Transmission Main (DN ...) |  |  | m |  |  | 0 | 3000 | 130 | 390000
[7 empty] | 0 |  |  | 0
| Sub-Total 3: |  | 193000 |  |  |  | 30000 |  |  | 390000
4 | Reservoirs and Elevated Tanks
| Refurbishment of existing Water Tanks | Acceptabel |  | LS | 1 | 3000 | 3000 |  |  | 0
| Refurbishment of existing Ground Reservoirs | Good |  | LS | 1 | 10000 | 10000 |  |  | 0
| Additional Storage Capacities |  |  | m3 | 600 | 250 | 150000 | 600 | 250 | 150000
| Sub-Total 4: |  | 63000 |  |  |  | 163000 |  |  | 150000
5 | Distribution Network
| Replacement of exist. Distribution Lines (DN100-DN200) |  |  | m | 3700 | 65 | 240500 |  |  | 0
| Replacement of exist. Distribution Lines (DN50-DN80) |  |  | m | 11000 | 25 | 275000 |  |  | 0
| Replacement of exist. Service Lines (DN25-DN40) |  |  | m | 22300 | 15 | 334500 |  |  | 0
| New Distribution Lines (DN100-DN200) |  |  | m |  | 65 | 0 |  |  | 0
| New Distribution Lines (DN50-DN80) |  |  | m |  | 25 | 0 |  |  | 0
| New Service Lines (DN25-DN40) |  |  | m |  | 15 | 0 |  |  | 0
| Sub-Total 5: |  | 1388000 |  |  |  | 850000 |  |  | 0
6 | Metering and Connections
| Purchase of water meters, valves & fittings |  |  | nos. | 4700 | 35 | 164500 | 1700 | 35 | 59500
| Purchase of bulk WMs, valves & fittings |  |  | nos, |  |  | 0 |  |  | 0
| Installation of water meters at exisit. HCs |  |  | nos. | 1400 | 15 | 21000 |  |  | 0
| Installation / construction of new HCs |  |  | nos. | 3300 | 25 | 82500 | 1700 | 25 | 42500
| Construction of Public Taps (PTs) |  |  |  | 34 | 2500 | 85000 | 87 | 2500 | 217500
| Sub-Total 6: |  | 0 |  |  |  | 353000 |  |  | 319500
7 | Miscellaneous
| Office , IT and Communication Equipment |  |  | LS | 1 | 30000 | 30000 | 1 | 32000 | 32000
| Cars and Pick-ups |  |  | nos. | 3 | 20000 | 60000 |  |  | 0
| Motorbikes |  |  | nos, | 6 | 4000 | 24000 | 3 | 4000 | 12000
| ... |  |  | LS |  |  | 0 |  |  | 0
| ... | [5 empty] | 0 |  |  | 0
| Sub-Total 7: |  | 0 |  |  |  | 114000 |  |  | 44000
| Total 1 to 7: |  | 1644000 |  |  |  | 3252000 |  |  | 2073500
8 | Other Costs
| Service Contract Support |  |  | % | 10 |  | 325200 | 7 |  | 145145
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| ... |  |  | % | 0 |  | 0 | 0 |  | 0
| Sub-Total 8: |  |  |  | 10 |  | 325200 | 7 |  | 145145
| Total 1- 8: | [5 empty] | 3577200 |  |  | 2218645
9 | Contingencies and Consultancy Services
9.1 | Physical and Price Contingencies |  |  | % | 15 |  | 536580 | 15 |  | 332796.75
9.2 | Status- Quo Analysis, DD and TDs (WTPs, Network and HCs) |  |  | % | 10 |  | 411378 | 5 |  | 127572.0875
9.3 | Construction Supervision |  |  | % | 9 |  | 370240.2 | 7 |  | 178600.9225
| Sub-Total 9: | [5 empty] | 1318198.2 |  |  | 638969.76
| Grand Total 1 to 9: (EUR) | [5 empty] | 4895398.2 |  |  | 2857614.76
| Grand Total 1 to 9: (KShs) | [5 empty] | 401422652.4 |  |  | 234324410.32