## Tabelle1
NZOIA Cluster - Water Supply Systems |  | Annex 4.1.3
Pre-Feasibility Study
Schematic Layout Plan of the KITALE Water Supply System
N
LEGEND
River Intake
Borehole / Well
Water Treatment Plant
Puming Station
Reservoir
Transmission Main
Pumping Main
Distribution Line
Nzoia WTP Design Capacity: 10,300 m3/day Actual Production: 5,000 m3/day
DN 200 PVC / 225 AC; 3,500 m
Nzoia River
DN 500 DI; 16,300m
KITALE (2003) Population in Service Area: 100,000 Served Population: 60,000 Total Connections: 5,786 Nos. Active Connections: 2,839 Nos. Communal Taps: 7 Nos. Average Water billed: 1,656 m3/day Total Staff: 63 Nos. Distribution Network: about 100 km Service Area: ... km2
Koitobos River
Koitobos WTP Design Capacity: 2,700 m3/day Actual Production: 700 m3/day
Northern Compound Storage Capacity: 6,725 m3
Southern Compound Storage Capacity: 3,150 m3
DN 500 DI; 1,500m
1765 m.a.s.l.
1816 m.a.s.l.
1927 m.a.s.l.
1825 m.a.s.l.
KITALE