## Tabelle1
NZOIA Cluster - Water Supply Systems |  | Annex 4.7.3
Pre-Feasibility Study
Schematic Layout Plan of the MUMIAS Water Supply System
N
LEGEND
River Intake
Borehole / Well
Water Treatment Plant
Puming Station
Reservoir
Transmission Main
Pumping Main
Distribution Line
Mumias WTP Design Capacity: 1,140 m3/day Actual Production: 1,320 m3/day
DN 200; 3,500m
MUMIAS (2003) Population in Service Area: 34,000 Served Population: 18,000 Total Connections: 1,029 Nos. Active Connections: 722 Nos. Communal Taps: 4 Nos. Average Water billed: 166 m3/day Total Staff: 15 Nos. Distribution Network: 9 to 10 km Service Area: ... km2
Lusimu River
DN 200; 2,800m
DN 200; 3,500m
Reservoir: 2*350m3
Well: 1*192m3/day
MUMIAS