## Tabelle1
NZOIA Cluster - Water Supply Systems |  | Annex 4.3.2
Pre-Feasibility Study
Schematic Layout Plan of the WEBUYE Water Supply System
N
LEGEND
River Intake
Borehole / Well
Water Treatment Plant
Puming Station
Reservoir
Transmission Main
Pumping Main
Distribution Line
Webuye WTP Design Capacity:3,400 m3/day Actual Production: 1,430 m3/day
DN 250; 2,000m
Nzoia River
DN 200; 1,000m
Reservoir: 2* 600 m3
WEBUYE (2003) Population in Service Area: 70,000 Served Population: 25,000 Total Connections: 2,106 Nos. Active Connections: 1,200 Nos. Communal Taps: 0 Nos. Average Water billed: 340 m3/day Total Staff: 24 Nos. Distribution Network: about 57 Km Service Area: ... km2
Broderick Falls
WEBUYE