## Introductory Notes
Water Sector Trust Fund
Up-scaling Basic Sanitation for the Urban Poor (UBSUP)
Tool for the Detailed Appraisal of SafiSan Projects
Introduction to the Detailed Appraisal Tool for SafiSan Projects
Definition of "appraisal": | Appraisal is the analysis of a proposed project to determine its merit and acceptability in accordance with established criteria. It forms part of steps that are undertaken to verify the suitability of a project before it is agreed for financing. It checks that the project is feasible against the situation on the ground, that the objectives set remain appropriate and that costs are reasonable.
The key questions are addressing techniques, including technical, financial and social analysis, impact assessment and risk analysis. The following are the key parameters for the assessment during the detailed appraisal phase:
Technical feasibility: | A large part of determining resources has to do with assessing technical feasibility. It considers the technical requirements of the proposed project. The technical requirements of UBSUP are already certifies and serves as standards for all parts of the country. An UBSUP project will therefore be considered technically feasible if the technical capability of the proposed sanitation infrastructure is sufficient to support the project requirements. The appraisal process in this aspect will find out whether the request under consideration fulfills the current technical resources and standards. This exercise will require the expertise of a technical analyst who will use their own experience to be able to answer the question of technical feasibility. Project proposals should have adequate provisions for the activities planned. The plan should, as far as is possible. make sound interventions. The key questions addressed by this criteria include: will the project work? has due attention been paid to technical factors affecting the project design? and lastly, given the human and material resources identified, can the project activities be undertaken and outputs achieved within the time available and to the required standards?
Financial feasibility: | Financial: can the project be financed? Will there be sufficient funds to cover the expenditure requirements during the life of the project? will the nation and society at large be better off as a result of the project? Will the project benefits be greater than the project costs over the life of the investment when account is taken of time (namely, is the Net Present Value of the project positive at the test discount rate)?
Social feasibility: | Social: what will be the effect of the project on different groups, at individual, household and community levels? How will the project impact on women and men? How will they participate in various stages of the project cycle? Will the social benefits of the project be greater than the social costs over the life of the investment when account is taken of time?
Environmental feasibility: | Environmental: will the project have any adverse effects on the environment? Have remedial measures been included in the project design?
Operational feasibility: | Operational & Maintenance: Operational feasibility is dependent on human resources available for the project and involves projecting whether the system will be used if it is developed and implemented. Operational feasibility is a measure of how well a proposed system solves the problems, and takes advantage of the opportunities identified during scope definition and how it satisfies the requirements identified in the requirements analysis phase of system development. In undertaking this exercise, UBSUP team members will be assessing the willingness of the WSPs to support the proposed project. The appraiser examines and understands the management commitment to the proposed project far beyond its implementation and even uses the past experienceswill the project be compatible with government policy, at both central and regional levels?
Sustainability & impact: | Sustainability and impact: The project should allow for the development of linkages with the community as a whole, other stakeholders, and/or other projects in the area or the community. These links should benefit the project and enable or contribute to the continuation or implementation of similar or related projects in the future. The key questions will include: will the project be exposed to any undue risks? and will the project benefits be sustainable beyond the life of the project?

## A. Project Relevance
Name of WSP (1): |  | Target Area(s): | [5 empty] | Project Code:
County: |  | WSB: | [5 empty] | Completed by:
Completed by: |  | Date: | [5 empty] | Notes:
Criteria |  |  | Section in the AF (1) |  | Confidence |  |  |  | Remarks
|  |  |  | Score | Yes (5) | No | WR (6) | Unknown
Project linkages with the country sanitation strategies and objectives |  |  | Section | (7.)
A1 | Is the proposal in line with the goals of Vision 2030 and with the provisions fort sanitation of the Kenya Constitution 2010? |  | J | 1
A2 | Is the proposal in line with the Water Act and the sanitation and existing hygiene policy? (MWI) |  | J | 3
A3 | Is the proposal in line with the with the Public Health Act and the Kenya Environmental Sanitation and Hygiene Policy (MoH)? |  |  | 1
A4 | Overall rating on project linkages |  | TOTAL: | 5 | 0 | 0 | 0 | 0
Rationale for WSTF's funding |  |  | Section
A5 | Is the proposal in line with the WSTF's Mandate? (8) |  | 1.1 | 3
A6 | Is the proposal in line with WSTF's pro-poor targeting policy? (i.e. does the proposal target the underserved urban poor residing in low income areas?) |  | E & 1,1 | 5
A7 | The WSP has no history of being issued RED FLAGS by the WSTF? (9) |  | DS | 5
A8 | The WSP has no history of being issued YELLOW FLAGS by the WSTF? (9) |  | DS | 2
A9 | Overall rating on the rational for WSTF's funding |  | TOTAL: | 15 | 0 | 0 | 0 | 0
Projects target area and population |  |  | Section
A10 | Do the results (the planned infrastructure & services of the project) meet the sanitation needs of the target population? |  | J | 5
A11 | Does the project proposal adequately describe the sustainable benefits for the target population? |  | J & K | 5
A12 | Does the proposal indicate how results will meet the differing needs of men and women and other targeted interest groups (e.g. the physically challenged)? |  |  | 3
A13 | Overall rating on target area and population |  | TOTAL: | 13 | 0 | 0 | 0 | 0
Projects objectives |  |  | Section
A14 | Does the proposal clearly shows what will be done? (what constitutes the project) (2) |  | J & K | 1
A15 | Does the proposal clearly shows where it will be done? (project areas)(3) |  |  | 1
A16 | Does the proposal clearly shows how it will be done? (implementation plan) (3) |  |  | 1
A17 | Does the proposal clearly shows who will implement the project? (Project Task Team, WSP staff, other stakeholders) (3) |  |  | 1
A18 | Does the proposal clearly shows why it will be done? (4) |  |  | 1
A19 | Overall rating on project objectives and components? |  | TOTAL: | 5 | 0 | 0 | 0 | 0
Overall rating of the Project Relevance |  |  | TOTAL: | 38 | 0 | 0 | 0 | 0
1): | WSP = Water Service Provider; WSB = Water Services Board; AF = Application Form; MWI = Ministry of Water and Irrigation; MoH = Ministry of Health; DS = Desk Screening (phase)
2): | The proposed key project components
3): | The proposed project areas
4): | The justification for the proposed project
5): | IMPORTANT: If the answer is "Yes" (i.e. the question can be answered affirmatively) write "1" in the Yes column. If the answer is "Unknown" write 1 in the Unknown column, etc.
6): | WR = With reservations; Please explain your reservations in the "Remarks" column
7): | Scores given as part of the weighing process: 1, 3 or 5
8): | The mandate of the WSTF is presented in a separate document (File: "Mandate of the WSTF")
9): | In case the answer is "No", please provide sufficient (documented) proof

## B.Project Technical Feasibility
Name of WSP: |  |  | Target Area(s): | [5 empty] | Project Code:
County: |  |  | WSB: | [5 empty] | Completed by:
Completed by: |  |  | Date: | [5 empty] | Notes:
Criteria |  |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
[5 empty] | Score | Yes | No | WR | Unknown
Technical feasibility |  |  |  | Section
B1 | Does the proposal clearly describe the proposed (technical) works? |  |  | 2.1 | 3
B2 | Do the proposed works link enable the proposed project to achieve its objectives? |  |  | 2.1 and 2.2 | 5
B3 | Do the proposed works enable the WSP to manage all components of the sanitation value chain? |  |  |  | 5
B4 | Is the technology proven and tested within Kenya? |  |  | UBSUP technical options | 3
B5 | If not, has it ever been successful elsewhere (outside Kenya) and can that success be replicated in current context and conditions? |  |  | To be checked (online?) | 3
B6 | Is there an existing sewer network in proposed project area? |  |  | 2.3.1 | 1
B7 | Are the proposed technical options appropriate for addressing the sanitation and public health challenges in the proposed project area? |  |  | 1.2, 1.4, & 2.1 | 5
B8 | Will standard designs (including prefabricated) being used? |  |  | 2.2 & 6.3 | 1
B9 | If own designs are being adopted, are they technically sound, user-friendly and clearly and comprehensively presented? |  |  | 2.2 & 6.3 | 1
B10 | Is the technical approach the appropriate option for the service objectives? |  |  | J, 2.2 & 6.3 | 5
B11 | Are any necessary technical drawings and BoQs to accompany the additional works provided? |  |  | 2.2 & 6.3 | 1
B12 | Are the specific proposed additional works and a work plan indicated? |  |  | 2.2 & 6.3 | 3
B13 | Are reasons for the additional works justified? |  |  | J, 2.2 & 6.3 | 3
B14 | Is extra equipment required for the additional works indicated? |  |  | 2.2 & 6.3 | 1
B15 | Overall technical feasibility & appropriateness rating |  |  | TOTAL: | 40 | 0 | 0 | 1 | 0
Decentralized Treatment Facility (DTF) |  |  |  | Section
B16 | (If the construction of a DTF is being proposed) Is the distance from the proposed DTF to the project area 5 kilometres or less? |  |  | 2.4.1 | 5
B17 | (If the construction of a DTF is being proposed) Has land for construction of the proposed DTF been acquired? |  |  | 2.4.1 | 5
B18 | (If the construction of a DTF is being proposed) Is the acquired land of appropriate size for the proposed components of the DTF? |  |  | 2.4.2 | 5
B19 | Is the described DTF site generally suitable for construction of the treatment facility? |  |  | 2.4.2 & 1.1 | 5
B20 | Is the capacity of the treatment facility sufficient for the population of the project area(s)? |  |  | 1.1 & 1.3, F | 5
B21 | Overall rating on DTF feasibility |  |  | TOTAL: | 20 | 0 | 0 | 0 | 0
Technical Skills & Experience of the Project Implementation Team |  |  |  | Section
B23 | Is there a person with technical expertise in the proposed Project Task Team? |  |  | 5.4 | 3
B24 | Does the Project Task Team have adequate skills and experience? |  |  | 5.3 | 5
B25 | Overall rating on technical skills & experience of the Project Task Team |  |  | TOTAL: | 8 | 0 | 0 | 0 | 0
Overall Rating of the Technical Feasibility |  |  |  | TOTAL: | 68 | 0 | 0 | 1 | 0
| *): | DTF = Decentralised Treatment Facility

## C. Project Social Feasibility
Name of WSP: |  | Target Areas: | [5 empty] | Project Code:
County: |  | WSB: | [5 empty] | Completed by:
Completed by: |  | Date: | [5 empty] | Notes:
Criteria |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
|  |  |  | Score | Yes | No | WR | Unknown
Target group analysis |  |  | Section
C1 | Has the target group been clearly identified and described? |  | 3.1 | 3
C2 | Has the average number of persons per a plot been clearly described? |  | 3.1 | 3
C3 | Has the average number of persons per dwelling been clearly described? |  | 3.1 | 3
C4 | Has the economic activities of the area residents been indicated? |  | 3.1 | 1
C5 | Has the gender composition of the proposed project area been clearly indicated? |  | 3.1 | 1
C6 | Does the proposal clearly describe the migration pattern in the project area? (Comment on the pattern) |  | 3.1 | 1
C7 | Does the socio-economic situation in the area suits the UBSUP/SafiSan project? |  | 3.1 | 3
C8 | Overall rating for the target group analysis |  | TOTAL: | 16 | 0 | 0 | 0 | 0
Stakeholder analysis and participation |  |  | Section
C9 | Will local elders in the area be involved in the project? |  | 3.2 | 1
C10 | Will relevant government organizations working in the area be involved in the project? |  |  | 1
C11 | Will relevant NGOs operating in the area be involved in the project? |  |  | 3
C12 | Will relevant CBOs and other local (social) organisations be involved in the project? |  |  | 3
C13 | Overall rating for the stakeholders analysis |  | TOTAL: | 8 | 0 | 0 | 0 | 0
Poverty focus |  |  | Section
C14 | Is the target population poor (when considering poverty at community, household and individual level)? |  | 3.1 | 5
C15 | Are the socio-economic characteristics of the area and its population characteristics (in terms of livelihood strategies, poverty, dwelling ownership, access to resources and services vulnerability and exclusion) clearly described? |  | 3.1 | 3
C16 | Does the proposal describe how issues of poverty will be addressed in the project (e.g. using local labour, recycling of waste, re-use of bio-solids, improved health)? |  |  | 3
C17 | Does the project take into account local socio-cultural and religious values, norms and practices? |  | 1.2.15, 3.1, 2.2 & 6.3 | 5
C18 | Are the proposed measures for mobilising local leadership adequate? |  | 3.3 | 1
C19 | Are the proposed measures for mobilising residents adequate? |  | 3.3 | 3
C20 | Are the proposed measures for educating & sensitising residents (regarding the facilities, health and hygiene) adequate? |  | 3.3 | 3
C21 | Overall rating for the stakeholders analysis |  | TOTAL: | 23 | 0 | 0 | 0 | 0
Projects objectives, activities and components |  |  | Section
C22 | Are the listed project activities sufficiently addressing the project objectives? |  | 3.3 & J | 5
C23 | Are the listed project activities fitting for the project area and its population? |  | 1.1 & 1.2 | 3
C24 | Can the current sanitation situation be described as poor or very poor? |  | 1.2.16 | 5
C25 | Does the public health situation in the proposed project area(s) give reason for concern? (e.g. outbreaks of cholera have occurred) |  | 1.2.17 | 5
C26 | Is the source of demographic data, particularly the anticipated number of beneficiaries, acceptable? |  | 1.3 | 3
C27 | Is the population of the proposed project area(s) expected to grow? |  | 1.3 | 1
C28 | Are the size and type of facilities proposed suitable for the location and customer profile? |  | 2.1 & 6.3 | 1
C29 | Is this proposed project likely to be demand-driven? |  | 1.2.19 | 3
C30 | Overall rating of project objectives, activities and components |  | TOTAL: | 26 | 0 | 0 | 0 | 0
Legality of the project area |  |  | Section
C31 | Is the proposed project area a legal settlement? |  | 1.1 | 3
C32 | Is the land in the project area privately owned? |  | 1.1 | 1
C33 | Is land required for the proposed infrastructure obtainable in the project area(s)? |  | 1.1 | 5
C34 | Overall rating of legality status of the project area |  | TOTAL: | 9 | 0 | 0 | 0 | 0
Overall Rating of the Social Feasibility |  |  | TOTAL: | 82 | 0 | 0 | 0 | 0

## D.Project Financial Feasibility
Name of WSP: |  |  | Target Areas: | [5 empty] | Project Code:
County: |  |  | WSB: | [5 empty] | Completed by:
Completed by: |  |  | Date: | [5 empty] | Notes:
Criteria |  |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
[5 empty] | Score | Yes | No | WR | Unknown
Operation costs |  |  |  | Section
D1 | Do households, landlords landladies (etc.) appear to be willing and able to pay for better sanitation (SafiSan toilets and/or sewer connection charges (in case the area is connected to the sewer)? |  |  | 7.1.1 | 3
D2 | Are the residents willing and able to pay for the proposed emptying services and or the monthly sewer charges? |  |  | 7.1.2 | 3
D3 | Is the expected revenue by the WSP reasonable? |  |  | 7.3 | 1
D4 | Overall rating of operation costs |  |  | TOTAL: | 7 | 0 | 0 | 0 | 0
Value addition and entrepreneurship |  |  |  | Section
D5 | Is the sludge collection mechanism well outlined in the proposal? |  |  | 6.3, 6.4, 6.5 & 6.6 | 5
D6 | Is the proposal clearly outlining opportunities for re-use of treated sludge? |  |  | 6.3.1 | 3
D7 | Does the project envisage creation of employment and service provision at the community level? (e.g. Sanitation Teams) (*) |  |  | 6.5 & 6.6 | 1
D8 | Does the project clearly illustrate a complete sanitation value chain? |  |  |  | 5
D9 | Overall rating of value addition & entrepreneurship |  |  | TOTAL: | 14 | 0 | 0 | 0 | 0
Analysis of the project materials, activities & costs |  |  |  | Section
D10 | Are the appropriate materials and their costs comprehensively included for all primary works? |  |  | Appendix 5g.1 | 5
D11 | Are the labour cost sheets for all the primary works complete? |  |  | Appendix 5g.2 | 5
D12 | Is the labour cost 5-25% of materials cost? (If not indicate the % under 'Remarks') |  |  | Appendix 5g.2 | 3
D13 | Are the quantities and costs for field equipment comprehensively included? |  |  | Appendix 5 | 1
D14 | Are the materials required for any other extra works itemised and costed? |  |  | Appendix 5g | 1
D15 | Are costs within allowable parameters for the above? (If not show issues in 'Remarks'). |  |  | Appendix 5g | 3
D16 | Are the BoQs and budgets arithmetically sound? |  |  | Appendix 5 | 3
D17 | Overall rating of project material, activities & costs |  |  | TOTAL: | 21 | 0 | 0 | 0 | 0
Rationality of the budget |  |  |  | Section
D18 | Are the resources required for all activities itemised? |  |  | Appendix 5 | 3
D19 | Are the quantities for materials and other resource requirements and their costs adequate and realistic? |  |  | Appendix 5g | 5
D20 | Are the costs of community-based activities (awareness creation, social marketing, etc.) and other accompanying measures adequate & realistic? |  |  |  | 5
D21 | Are the materials, including quantities, for administration/overheads adequate and justified? |  |  | Appendix 5 | 3
D22 | Are the prices for administration/overhead materials realistic? |  |  | Appendix 5e | 3
D23 | Are the allowance rates acceptable and realistic? (Please check GoK recommended rates) |  |  | Appendix 5b | 3
D24 | Is the amount included for transport and travelling costs explained and justified? |  |  | Appendix 5e | 3
D25 | Have explanations been given for any incidental costs or purchases and is there sufficient justification for these to be financed? |  |  | Appendix 5 | 3
D26 | Are the prices used for incidental costs realistic? |  |  | Appendix 5 | 3
D27 | Overall rating of the rationality of the budget |  |  | TOTAL: | 31 | 0 | 0 | 0 | 0
Overall rating of the Financial Feasibility |  |  |  | TOTAL: | 73 | 0 | 0 | 0 | 0
| *): | "Sanitation Teams" are trained by the project and provide emptying and transportation services to the users of UDDTs

## E. Environmental Compliance
Name of WSP: |  |  | Target Areas: | [5 empty] | Project Code:
County: |  |  | WSB: | [5 empty] | Completed by:
Completed by: |  |  | Date: | [5 empty] | Notes:
Criteria |  |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
[5 empty] | Score | Yes | No | WR | Unknown | Remarks
Project setting |  |  |  | Section
E1 | Have potential environmental risks in the project area been identified and considered? |  |  | 7.5 | 3
E2 | Have potential environmental risks outside the project area been identified and considered? |  |  | 7.5 | 3
E3 | Overall rating of project setting |  |  | TOTAL: | 6 | 0 | 0 | 0 | 0
Impact identification |  |  |  | Section
E4 | The proposed project is not likely to have any negative impact on environmentally sensitive or important areas? |  |  | 7.5 | 5
E5 | Have the environmental and social risks been assessed and addressed (in the proposal)? |  |  | 7.5 | 3
E6 | The proposed project infrastrcuture does not have a negative impact upon its immediate environment? (Tick "Yes" if it does not) |  |  | 7.5 | 5
E7 | Overall rating of impact identification |  |  | TOTAL: | 13 | 0 | 0 | 0 | 0
Mitigation measures |  |  |  | Section
E8 | Are there mitigation measures proposed? |  |  | 7.5 | 1
E9 | Have appropriate technologies (guidelines) been proposed? |  |  | 7.5 | 3
E10 | Have the beneficial and adverse environmental effects been considered by the project objectives, budget and activities? |  |  | 7.5, J & K | 3
E11 | Will the project seek NEMA's approval for key project components (e.g. DTFs) and/or has the current infrastructure to be used by the project been approved by NEMA? (i.e. after an EIA)(*) |  |  |  | 5
E12 | Have environmental impact issues been considered fully and, if necessary, has a full EIA been undertaken? |  |  | 7.5 | 5
E13 | Overall rating of mitigation measures |  |  | TOTAL: | 17 | 0 | 0 | 0 | 0
Overall rating of the environmental compliance of the project |  |  |  | TOTAL: | 19 | 0 | 0 | 0 | 0
| *): | EIA = Environmental Impact Assessment

## F. O&M of the Project
Name of WSP: |  | Target Areas: | [5 empty] | Project Code:
County: |  | WSB: | [5 empty] | Completed by:
Completed by: |  | Date: | [5 empty] | Notes:
Criteria |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
|  |  |  | Score | Yes | No | WR | Unknown
The WSP and its existing sanitation operations |  |  | Section
F1 | Are existing sanitation infrastructures included in the annual maintenance plans of the WSP? |  | 6.1 | 5
F2 | Are there any maintenance works that have been undertaken in the last two (2) years? |  | 6.1 | 3
F3 | Does the WSP have a functional exhauster? |  | 6.2 | 3
F4 | If no, are there privately owned exhausters operating in the service area of the WSP? |  |  | 1
F5 | Can the available exhausting systems accommodate the additional emptying needs by the proposed SafiSan toilets? |  | 6.2 | 1
F6 | Overall rating of the sanitation operations of the WSP |  | TOTAL: | 13 | 0 | 0 | 0 | 0
WSP's existing infrastructure |  |  | Section
F7 | Does your WSP have a functional sludge treatment facility that can accommodate the additional sludge generated from the proposed new toilets?? |  | 6.2 | 1
F8 | (If the WSP has a non-functional waste water treatment facility) Are there plans to upgrade this facility or can it be up-graded for use by the proposed project? |  | 6.2 | 1
F9 | Overall rating of existing infrastructure of the WSP |  | TOTAL: | 2 | 0 | 0 | 0 | 0
Planned treatment infrastructure |  |  | Section
F10 | Does the type of treatment facility proposed guarantee sustainable sludge management? |  | 6.3 | 3
F11 | Does the type of treatment facility proposed include components that guarantee full sanitation value chain? |  | 6.3 | 5
F12 | Are the proposed infrastructures within or near area? |  | 6.3.1 | 1
F13 | Overall rating on target area and population. |  | TOTAL: | 9 | 0 | 0 | 0 | 0
Operation of the planned infrastructure |  |  | Section
F14 | Are the criteria for recruiting (DTF) Operators clear and acceptable? |  | 3.4.1 | 1
F15 | Are proposals for training Operators adequate? |  | 3.4.3 | 3
F16 | Is there a clear plan for the operation (including supervision & monitoring) of the treatment (e.g. DTF) operations by the WSP? |  | 6.1 - 6.4 | 5
F17 | Is there market for treated sludge in the project area (town)? |  | 6.3.3 | 3
F18 | Is there confidence that there is ability and willingness among users of treatment facilities (e.g. Sanitation Teams & customers buying fertiliser) to pay the proposed charges? |  | 7.2.1 | 1
F19 | Does the WSP expect to cover the operating costs of the proposed project? |  | 7.2.1 | 3
F20 | Is the WSP willing and able to pay the Sanitation Teams for delivering sludge to the treatment facility(-ies)? |  | 7.2.2 | 3
F21 | Overall rating on project objectives and components |  | TOTAL: | 19 | 0 | 0 | 0 | 0
Overall rating of the Operation and Maintenance within the WSP |  |  | TOTAL: | 43 | 0 | 0 | 0 | 0

## G. Sustainability and Impact
Name of WSP: |  | Target Areas: | [5 empty] | Project Code:
County: |  | WSB: | [5 empty] | Completed by:
Completed by: |  | Date: | [5 empty] | Notes:
Criteria |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
|  |  |  | Score | Yes | No | WR | Unknown
Governance |  |  | Section
G1 | Does the WSP have a pro-poor policy or strategy? |  | 7.4 | 3
G2 | Does the WSP have a special department, section, unit or staff member in charge of the low-income areas? |  | 7.4 | 3
G3 | Is the trend in the company's collection ratio showing consistent improvement or is it above 95%? |  | 5.1 (9), 5.4 (8) | 1
G4 | The sector Regulator (WASREB) does not have any outstanding issues with the WSP that indicate it is a risk to entrust it to sustain the planned services? (Write "Yes" if there are no issues) |  | 5.1 (7, 11) | 3
G5 | Overall rating of the WSP governance |  | TOTAL: | 10 | 0 | 0 | 0 | 0
Capacity and preparedness of the WSP |  |  | Section
G6 | Are all senior manager positions filled? (If not, what are the reasons for the vacancies?) |  | 5.1 (1) | 3
G7 | Is the WSP (company) staff to be involved in the project appropriate and with adequate authority? |  | 5.1 (2) | 3
G8 | Does the WSP have an existing low-income unit (or sanitation unit)? |  | 5.1 (3) | 1
G9 | Does the WSP have the capacity to procure the intended goods and services or has the WSP make appropriate arrangements to do so? |  | 5.1 (4) | 3
G10 | Does the company receive any external support? |  | 5.1 (5) | 0
G11 | Does the WSP have the necessary, tools, equipment, vehicles, office equipment and other non-human resources to implement the project? |  | 5.1 (6) | 3
G12 | There is not any known history of management inadequacy of malpractice (corruption)? (If yes, what has been done to rectify the situation?) |  | 5.1 (8) | 3
G13 | Overall rating of the WSP preparedness |  | TOTAL: | 16 | 0 | 0 | 0 | 0
Overall rating of the project's Sustainbility & Impact |  |  | TOTAL: | 26 | 0 | 0 | 0 | 0
Sustainability & Impact, see next also page >>

## H. Sustainability and Impact
Name of WSP: |  | Target Areas: | [5 empty] | Project Code:
County: |  | WSB: | [5 empty] | Completed by:
Completed by: |  | Date: | [5 empty] | Notes:
Criteria |  |  | Section in the AF |  | Confidence |  |  |  | Remarks
|  |  |  | Score | Yes | No | WR | Unknown
Capacity to operate the project |  |  | Section
H1 | Did the WSP assign staff in charge of the inspection and supervision of the proposed project (facilities)? |  | 5.4 | 3
H2 | Did the WSP assign staff in charge of maintenance and repair of the proposed project (facilities)? |  | 5.4 | 3
H3 | Is there a clear and adequate plan for maintaining the proposed facilities after commissioning? |  | 6.6 | 3
H4 | Do indicators (past history, etc.) suggest that the WSP can and will maintain the facilities adequately? |  | 6.2 | 3
H5 | Do the WSP's collections, plus formally committed grants for operating costs, exceed total O&M costs? |  | 8.1 | 3
H6 | Overall rating of WSP's capacity to operate the project |  | TOTAL: | 15 | 0 | 0 | 0 | 0
Sustainability |  |  | Section
H7 | Was the design of the project participatory? |  | 7.2 | 3
H8 | Are the listed activities potential for capacity transfer to the community? |  | 3.3 | 3
H9 | Is the proposal outlining how the operations and maintenance of the project infrastructure will be achieved? |  | 6.4 | 3
H10 | Does the proposal indicate that the implementing agency will be able to undertake the activities and deliver the results? |  | 5.4 | 3
H11 | Overall rating of the sustainability of the project |  | TOTAL: | 12 | 0 | 0 | 0 | 0
Risk management and (area) development plans |  |  | Section
H12 | Is the project design based on supporting evidence from past projects or other sources? |  | 5.2 | 1
H13 | Is there an existing County physical plans for the project area? |  | 7.2 | 1
H14 | Does the County has a development master plan for the County (town)? |  | 7.2 | 1
H15 | Is there sufficient potential for utilisation of the proposed DTF? |  | 1.3 & 6.5 | 3
H16 | If the project will depend on an existing treatment facility, is the operational status of the facility acceptable? |  | 6.2 | 3
H17 | Overall rating of risk management & development plans |  | TOTAL: | 9 | 0 | 0 | 0 | 0
Knowledge building |  |  | Section
H18 | Does the proposal demonstrate how the project will generate knowledge which will add value for future interventions? |  |  | 3
H19 | Does the project promote community participation as a technology transfer mechanism? |  |  | 3
H20 | Overall rating of knowledge building |  | TOTAL: | 6 | 0 | 0 | 0 | 0
Overall rating of the project's Sustainbility & Impact |  |  | TOTAL: | 27 | 0 | 0 | 0 | 0

## I. Working sheet
INFORMATIONS AND WORKINGS SHEET
WSP Profile
Active connections - water (No.): |  | Monthly Collections (KSh): | Production cost/m3 produced (KSh/m3):
Sewer connections (No.): |  | Collections ratio: | Production cost/m3 sold (KSh/m3):
Meter coverage (%): |  | Monthly sales (m3): | Maintenance spend as % collections (%):
Monthly water production (m3): |  | Total O&M cost per unit (KSh/m3): | Personnel Costs as % of collections (%):
Tariff to customers under project (KSh): |  | Tariff from WSP to Operator (KSh/m3): | Remarks:
Financial Viability Working
| Daily units (e.g. 20-litre containers, toilet visits) (expected sales) |  |  | Tariff |  | KSh
|  |  | Rate |  | Value
| Projected revenues from customers: |  | 0 |  | 0
| Projected revenue received from DTF Operators: |  | 0 |  | 0
| Projected production cost - WSP: |  | 0 |  | 0
Projected other costs WSP (maintenance, supervision) (sanitation):
Projected other costs - operator (staff, cleaning materials, other consumables) (Sanitation):
| Operator monthly surplus: |  |  |  | 0
| WSP monthly surplus: |  |  |  | 0

## J. Summary Report
Sheet | Title | Scores |  |  |  |  | RED FLAGS
No. |  | Yes | No | WR | Unknown | Explain "With reservations" & "Unknown" | Yes | No | Remark | Follow-up actions (*) | Remarks
A | Project Relevance | 0 | 0 | 0 | 0
B | Project Technical Feasibility | 0 | 0 | 1 | 0
C | Project Social Feasibility | 0 | 0 | 0 | 0
D | Project Financial Feasibility | 0 | 0 | 0 | 0
E | Project Environmental Compliance | 0 | 0 | 0 | 0
F | Operation and Maintenance of the Project | 0 | 0 | 0 | 0
G | Sustainability and Impact of the Project | 0 | 0 | 0 | 0
H | Workings Sheet
>> | Overall score | 0 | 0 | 1 | 0
Overall conclusion:
Recommendation:
|  | *): | Follow-up actions such as the Field Appraisal