## Slide 1
Construction of toilets and septic tanks
UBSUP

## Slide 2
THE TOILETS
Options
Pour Flush squatting type
Cistern Flush squatting type
Pour Flush sitting type
Cistern Flush sitting type

## Slide 3
THE TOILETS
Technical Specifications
Ensure dimensions are respected
Ensure proper reinforcement

## Slide 4
THE SEPTIC TANKS
Principle
2 consecutive chambers separated with a baffle wall. Separation of solid (sludge at the bottom) and liquid (foam on top). Liquid part goes from chamber 1 to chamber 2 to a soak away pit.
  Only accumulated sludge need to be emptied
  Less emptying than any holding/conservancy tank  cost saving on exhauster services
Septic tank build besides the toilets
Septic tank build under the toilets (if space is lacking)

## Slide 5
THE SEPTIC TANKS
Technical specifications