## Slide 1
UBSUP - DTF project - KENYA Maintenance of a co-composting facility
Version: 2.0
Last Update: August 2017

## Slide 2: Moisture control User’s guide page 11
Moisture content should be maintain between 40 to 60%

## Slide 3: Temperature control User’s guide page 10 and 11
1st week: temperature rises quickly up to 65°C
Next 6 weeks: temperature decreases gradually up to ambient temperature
Next 4 weeks: temperature stabilize at ambient temperature

## Slide 4: Temperature control User’s guide page 10 and 11
Steps:
Push a hole in the middle of the windrow with a stick
Attach a thermometer to a stick with a piece of string
Insert thermometer in the hole and leave it for 1 minute
Read the temperature and monitor with the diagram
Read temperature:
Daily during the first week
Then 2 to 3 times per week

## Slide 5: Trouble shooting: composting parameters User’s guide page 16
Temperature:
Odour:

## Slide 6: Trouble shooting: climatic influences and vectors User’s guide page 17

## Slide 7: Trouble shooting: climatic influences and vectors User’s guide page 18

## Slide 8: Do you have any questions, remarks or suggestions?